## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Upgradation of the Distribution Board in Physical Science Block at IISER, Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Supply of FRLS XLPE power cable of 1.1 kV grade of following size as required. | [53 empty] | 1 | Supply of FRLS XLPE power cable of 1.1 kV grade of following size as required.
1.1 | 3.5C x 50 sqmm Aluminium armoured cable (A2XFY) |  | 60 | Metre | 2902.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | 3.5C x 50 sqmm Aluminium armoured cable (A2XFY) | 60 | Metre
1.2 | 2C x 25 sqmm Aluminium armoured cable (A2XFY) |  | 90 | Metre | 2902.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.2 | 2C x 25 sqmm Aluminium armoured cable (A2XFY) | 90 | Metre
2 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required | [53 empty] | 2 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required
2.1 | Upto 35 sq. mm (clamped with 1mm thick saddle) |  | 90 | Metre | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.1 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 90 | Metre
2.2 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) |  | 90 | Metre | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.2 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 90 | Metre
3 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of Under ground PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | [53 empty] | 3 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of Under ground PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
3.1 | 3½ X 50sq. mm |  | 1 | Each | 142 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.1 | 3½ X 50sq. mm | 1 | Each
4 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | [53 empty] | 4 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
4.1 | 3½ X 50 sq. mm (35mm) |  | 2 | Each | 119 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.1 | 3½ X 50 sq. mm (35mm) | 2 | Each
4.2 | 2 X 25 sq. mm (22mm) |  | 2 | Each | 119 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.2 | 2 X 25 sq. mm (22mm) | 2 | Each
5 | Installation of 8/12Way surface/recess mounting , Vertical type, 415 V, 160A TPN MCCB distribution board of sheet steel fixed on wall as required & directed by Engineer incharge. (Legrand make distibution board will be issued by the Department; all other materials like steel fastener, paint, etc. to complete the work in all respect shall be the scope of contractor.) |  | 1 | Each | 119 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5 | Installation of 8/12Way surface/recess mounting , Vertical type, 415 V, 160A TPN MCCB distribution board of sheet steel fixed on wall as required & directed by Engineer incharge. (Legrand make distibution board will be issued by the Department; all other materials like steel fastener, paint, etc. to complete the work in all respect shall be the scope of contractor.) | 1 | Each
6 | Fixing of following circuit breakers in the existing distribution board complete with connections, testing and commissioning etc. as required (Legrand make MCB/MCCBs will be issued by the Department) | [53 empty] | 6 | Fixing of following circuit breakers in the existing distribution board complete with connections, testing and commissioning etc. as required (Legrand make MCB/MCCBs will be issued by the Department)
6.1 | Single pole MCB |  | 36 | Each | 6494 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.1 | Single pole MCB | 36 | Each
6.2 | Triple pole MCB |  | 6 | Each | 6494 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.2 | Triple pole MCB | 6 | Each
6.3 | TPN MCCB |  | 1 | Each | 6494 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.3 | TPN MCCB | 1 | Each
7 | Providing and fixing 4.00 mm dia copper wire on surface or in recess for loop earthing as required. |  | 120 | Metre | 1336.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7 | Providing and fixing 4.00 mm dia copper wire on surface or in recess for loop earthing as required. | 120 | Metre
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information