## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Minor civil works for reducing ingression of water in the area adjacent to clean room of PSB in IISER campus, Vithura
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Steel work in built up tubular (round, square or rectangular hollow tubesetc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved epoxy primer and two or more coats of synthetic enamel paint, including welding and bolted with special shaped washers etc. complete. (Scaffolding, ladders, working platform,etc required shall be arranged by the contractor) | [6 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 1 | Steel work in built up tubular (round, square or rectangular hollow tubesetc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved epoxy primer and two or more coats of synthetic enamel paint, including welding and bolted with special shaped washers etc. complete. (Scaffolding, ladders, working platform,etc required shall be arranged by the contractor)
1.1 | Hot finished welded type tubes |  | 290 | Kg | 2769.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | Hot finished welded type tubes | 290 | Kg
2 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, fencing frames including cutting, hoisting, fixing in position and applying a priming coat of approved epoxy steel primer and two or more coats of synthetic enamel paint, etc complete all as per the direction of Engineer-in-charge. (Scaffolding, ladders, working platform,etc required shall be arranged by the contractor) |  | 20 | Kg | 2769.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, fencing frames including cutting, hoisting, fixing in position and applying a priming coat of approved epoxy steel primer and two or more coats of synthetic enamel paint, etc complete all as per the direction of Engineer-in-charge. (Scaffolding, ladders, working platform,etc required shall be arranged by the contractor) | 20 | Kg
3 | Providing and fixing 10mm anchor bolts in RCC/RR walls which includes necessary drilling using hammer drill, tightening of bolts, etc complete all as directed by EIC (Scaffolding, ladders, working platform,etc required shall be arranged by the contractor) |  | 40 | Each | 2769.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Providing and fixing 10mm anchor bolts in RCC/RR walls which includes necessary drilling using hammer drill, tightening of bolts, etc complete all as directed by EIC (Scaffolding, ladders, working platform,etc required shall be arranged by the contractor) | 40 | Each
4 | Providing and fixing precoated trafford metalic roofing sheet Georoof ultima matte or Jindal or JSW (make and colour of coating as per client approval) 0.35mm thickness size, shape and pitch of corrugation as approved by Engineer-in-charge). The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses but including charges towards cutting to size and shape wherever required, etc. (Scaffolding, ladders, working platform,etc required shall be arranged by the contractor) |  | 40 | Sqm | 2769.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Providing and fixing precoated trafford metalic roofing sheet Georoof ultima matte or Jindal or JSW (make and colour of coating as per client approval) 0.35mm thickness size, shape and pitch of corrugation as approved by Engineer-in-charge). The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses but including charges towards cutting to size and shape wherever required, etc. (Scaffolding, ladders, working platform,etc required shall be arranged by the contractor) | 40 | Sqm
5 | Providing and fixing precoated metalic sheet roofing accessories 0.50 mm (+ 0.05 %) total coated thickness, Georoof ultima matte or Jindal or JSW (make and colour of coating as per client approval) using self drilling/ self tapping screws complete : (Scaffolding, ladders, working platform,etc required shall be arranged by the contractor) | [6 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 5 | Providing and fixing precoated metalic sheet roofing accessories 0.50 mm (+ 0.05 %) total coated thickness, Georoof ultima matte or Jindal or JSW (make and colour of coating as per client approval) using self drilling/ self tapping screws complete : (Scaffolding, ladders, working platform,etc required shall be arranged by the contractor)
5.1 | Flashings/ Aprons.( Upto 600 mm) |  | 13.2 | m | 2769.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.1 | Flashings/ Aprons.( Upto 600 mm) | 13.2 | m
6 | Providing and fixing PVC mouded 6" rain water gutter with iron brackets 20x6mm size, bolts, nuts and washers etc., including making necessary connections with rain water pipes complete all as per the directions of engineer-in-charge |  | 18 | m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6 | Providing and fixing PVC mouded 6" rain water gutter with iron brackets 20x6mm size, bolts, nuts and washers etc., including making necessary connections with rain water pipes complete all as per the directions of engineer-in-charge | 18 | m
7 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes 110mm dia 4kg/cm2 including necessary bends, fittings, clamps, etc complete all as directed by EIC. |  | 45 | m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes 110mm dia 4kg/cm2 including necessary bends, fittings, clamps, etc complete all as directed by EIC. | 45 | m
8 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes 160mm dia 4Kg/Cm2 including necessary bends, all fittings, clamps, earth work excavation & back filling, etc complete all as directed by EIC. |  | 90 | m |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes 160mm dia 4Kg/Cm2 including necessary bends, all fittings, clamps, earth work excavation & back filling, etc complete all as directed by EIC. | 90 | m
9 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. |  | 26 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 26 | Sqm
10 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 500 m. | [6 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 10 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 500 m.
10.1 | All kinds of soil |  | 15 | Cum | 2769.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.1 | All kinds of soil | 15 | Cum
11 | Laying old cement concrete interlocking paver blocks of any design/shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer in-charge. (Old CC paver blocks shall be supplied by the department free of cost) |  | 26 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11 | Laying old cement concrete interlocking paver blocks of any design/shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer in-charge. (Old CC paver blocks shall be supplied by the department free of cost) | 26 | Sqm
12 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [6 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 12 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
12.1 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 0.7 | Cum | 2769.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.1 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 0.7 | Cum
13 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 500 m and lift upto 1.5 m, as directed by Engineer-in- Charge: | [6 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 13 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 500 m and lift upto 1.5 m, as directed by Engineer-in- Charge:
13.1 | All kinds of soil |  | 100 | Sqm | 2769.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.1 | All kinds of soil | 100 | Sqm
14 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [6 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 14 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
14.1 | 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) |  | 10.5 | Cum | 2769.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.1 | 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | 10.5 | Cum
15 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). | [6 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 15 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand).
15.1 | Dark shade pigment using ordinary cement |  | 102 | Sqm | 2769.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15.1 | Dark shade pigment using ordinary cement | 102 | Sqm
16 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster 1:6 (1 cement : 6 fine sand). |  | 215 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster 1:6 (1 cement : 6 fine sand). | 215 | Sqm
Total in Figures | Total | [50 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information