## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer(Civil), IISER Thiruvananthapuram
Name of Work: Supply, installation, Testing and commissioning of Cassette/Hiwall type split AC in Center for HPC at Physical Science Block, IISERTVM campus, Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Supply,Installation, testing and commissioning of Inverter type Ceiling mounted Cassette Air Conditioning units of following capacities (with copper condensor & evaporator coil) filled with eco friendly refrigerant gas and powder coated Outdoor unit mounting stand, cabling, drain piping, refrigerant topup (if required) all complete as required and as directed by the Engineer In Charge. | [6 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 1 | Supply,Installation, testing and commissioning of Inverter type Ceiling mounted Cassette Air Conditioning units of following capacities (with copper condensor & evaporator coil) filled with eco friendly refrigerant gas and powder coated Outdoor unit mounting stand, cabling, drain piping, refrigerant topup (if required) all complete as required and as directed by the Engineer In Charge.
1.1 | 1.5 TR Cassette type split AC (BEE - 3 Star rated) |  | 2 | No | 126044 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.1 | 1.5 TR Cassette type split AC (BEE - 3 Star rated) | 2 | No
2 | Supply,Installation, testing and commissioning of Inverter type Hi-Wall Split Air Conditioning units of following capacities (with copper condensor & evaporator coil) filled with eco friendly refrigerant gas and powder coated Outdoor unit mounting stand, cabling, drain piping, refrigerant topup (if required) all complete as required and as directed by the Engineer In Charge. | [6 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Supply,Installation, testing and commissioning of Inverter type Hi-Wall Split Air Conditioning units of following capacities (with copper condensor & evaporator coil) filled with eco friendly refrigerant gas and powder coated Outdoor unit mounting stand, cabling, drain piping, refrigerant topup (if required) all complete as required and as directed by the Engineer In Charge.
2.1 | 2.0 TR Hi-Wall type split AC (BEE - 5 Star rated) |  | 2 | No | 121412 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.1 | 2.0 TR Hi-Wall type split AC (BEE - 5 Star rated) | 2 | No
3 | Supply, laying and fixing of copper refrigerant pipes wherever necessary with insulation, pipe wrapping tape (white) and FRLS power/control cables for Split AC as per the specifications. | [6 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 3 | Supply, laying and fixing of copper refrigerant pipes wherever necessary with insulation, pipe wrapping tape (white) and FRLS power/control cables for Split AC as per the specifications.
3.1 | 1.5 TR Cassette type split AC |  | 19.7 | Metre | 19325.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.1 | 1.5 TR Cassette type split AC | 19.7 | Metre
3.2 | 2.0 TR Cassette type /Hi-Wall split AC |  | 28.4 | Metre | 30047.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.2 | 2.0 TR Cassette type /Hi-Wall split AC | 28.4 | Metre
4 | Supply and laying of following size PVC drain piping of 4 kg /cm2 rating complete with 6mm Nitrile Rubber Insulation, supports, fittings like elbow, tee joints, screws, clamps etc. | [6 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 4 | Supply and laying of following size PVC drain piping of 4 kg /cm2 rating complete with 6mm Nitrile Rubber Insulation, supports, fittings like elbow, tee joints, screws, clamps etc.
4.1 | 25 mm dia |  | 18 | Metre | 3132 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4.1 | 25 mm dia | 18 | Metre
4.2 | 32 mm dia |  | 12 | Metre | 2148 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4.2 | 32 mm dia | 12 | Metre
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information