## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Supply, Installation, Testing and Commissioning of Solar street light fixtures around the external road of Anamudi hostel block and other areas in IISER, Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Basic unit Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Supply, Installation, Testing and commissioning of stand alone 36W (+20% permissible) solar street lighting system with 5 meter GI pole of 4" dia coated with rubber paint on bottom, Lithium Ferro Phosphate battery pack housed in Galvanized mettallic battery box mounted on pole top of height 3 meter from ground level, monolithic solar PV panel of capacity 200Wp, suitable charger controller, pole mounting bracket etc complete as per the Technical specification in ANERT(No. ANERT-TECH/179/2020-TO(MJ) and including the erection of pole in cement concrete and earthing of the pole as required. The pole and foundation drawing shall be got approved from the department before manfucaturing and erection of the pole. |  | 47 | Set | 70000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1 | Supply, Installation, Testing and commissioning of stand alone 36W (+20% permissible) solar street lighting system with 5 meter GI pole of 4" dia coated with rubber paint on bottom, Lithium Ferro Phosphate battery pack housed in Galvanized mettallic battery box mounted on pole top of height 3 meter from ground level, monolithic solar PV panel of capacity 200Wp, suitable charger controller, pole mounting bracket etc complete as per the Technical specification in ANERT(No. ANERT-TECH/179/2020-TO(MJ) and including the erection of pole in cement concrete and earthing of the pole as required. The pole and foundation drawing shall be got approved from the department before manfucaturing and erection of the pole. | 47 | Set
2 | Installation, testing and commissioning of LED street light fixtures on 8meter height street light pole including interconnecting cable with 3Cx1.5 sq.mm FRLS PVC insulated stranded multi core copper conductor flexible cable , bolts, nuts, DIN rail, 6A DP MCB, 32A TPN terminal block, 6mm thick laminated hylem sheet(octagonal pole), earthing and glanding in 3 mm thick M.S. sheet and erection of the street light pole on foundation bolt embedded on reinforced cement concrete(M20) foundation of size 450mm x 450mm x 1500mm(200mm above the ground level and 1300mm below the ground level including excavation and refilling, painting the street light poles with 1 coat of epoxy primer and 2 coats of aluminium paint as required and as directed by Engineer in charge. Note: The Poles, LED street light fixtures and foundation bolts shall be issued from the department on free of cost. |  | 7 | Nos. | 9452 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Installation, testing and commissioning of LED street light fixtures on 8meter height street light pole including interconnecting cable with 3Cx1.5 sq.mm FRLS PVC insulated stranded multi core copper conductor flexible cable , bolts, nuts, DIN rail, 6A DP MCB, 32A TPN terminal block, 6mm thick laminated hylem sheet(octagonal pole), earthing and glanding in 3 mm thick M.S. sheet and erection of the street light pole on foundation bolt embedded on reinforced cement concrete(M20) foundation of size 450mm x 450mm x 1500mm(200mm above the ground level and 1300mm below the ground level including excavation and refilling, painting the street light poles with 1 coat of epoxy primer and 2 coats of aluminium paint as required and as directed by Engineer in charge. Note: The Poles, LED street light fixtures and foundation bolts shall be issued from the department on free of cost. | 7 | Nos.
3 | Supply and installation of weather proof thermoplastic enclosure of size 240mm x 130mm x 110mm complete with DIN rail,suitable connectors, earthing, glanding, etc. on wall/pole/floor as required and as directed by Engineer in charge |  | 39 | Each | 939.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supply and installation of weather proof thermoplastic enclosure of size 240mm x 130mm x 110mm complete with DIN rail,suitable connectors, earthing, glanding, etc. on wall/pole/floor as required and as directed by Engineer in charge | 39 | Each
4 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | [53 empty] | 4 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
4.1 | Upto 35 sq. mm (clamped with 1mm thick saddle) |  | 150 | meter | 47.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4.1 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 150 | meter
5 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required | [53 empty] | 5 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required
5.1 | 4 X 10 sq. mm (25mm) |  | 19 | Each | 268.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.1 | 4 X 10 sq. mm (25mm) | 19 | Each
5.2 | 3 X 16/25 sq. mm (25mm) |  | 15 | Each | 272.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.2 | 3 X 16/25 sq. mm (25mm) | 15 | Each
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information