## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Electrical works for additional requirement in PSB 2212 & PSB 2211 at IISER TVM campus, Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Basic unit Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single/Multi core cable in the existing surface/ recessed PVC conduit/CMS trunking as required. | [53 empty] | 1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single/Multi core cable in the existing surface/ recessed PVC conduit/CMS trunking as required.
1.1 | 1X4 sq. mm + 2 X 4 sq. mm earth wire |  | 200 | Metre | 143 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.1 | 1X4 sq. mm + 2 X 4 sq. mm earth wire | 200 | Metre
1.2 | 3Cx 6 sqmm flexible cable |  | 350 | Metre | 292 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.2 | 3Cx 6 sqmm flexible cable | 350 | Metre
1.3 | 4X10 sq. mm + 2 X 10 sq. mm earth wire Note The 10 Sqmm wire shall be supplied by departmentally . |  | 20 | Metre | 79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.3 | 4X10 sq. mm + 2 X 10 sq. mm earth wire Note The 10 Sqmm wire shall be supplied by departmentally . | 20 | Metre
2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. | [53 empty] | 2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
2.1 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire |  | 70 | Metre | 483 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.1 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | 70 | Metre
3 | Supplying and fixing suitable size CMS/PVC Surface box with modular plate and cover in existing Cable Management System/front on surface or in recess , including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. |  | 39 | Each | 492 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying and fixing suitable size CMS/PVC Surface box with modular plate and cover in existing Cable Management System/front on surface or in recess , including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 39 | Each
4 | Supplying and fixing suitable size CMS/PVC surface box with modular plate and cover in existing Cable Management System/front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. |  | 13 | Each | 607 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4 | Supplying and fixing suitable size CMS/PVC surface box with modular plate and cover in existing Cable Management System/front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 13 | Each
5 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | [53 empty] | 5 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
5.1 | 25 mm |  | 180 | Metre | 110 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.1 | 25 mm | 180 | Metre
5.2 | 32 mm |  | 60 | Metre | 113 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.2 | 32 mm | 60 | Metre
6 | Supply, Installation , Testing commisioning of pre-fabricated powder coated Electrical Raceway with 6/16Aswitches, 6/16A Socket, 20A & 32A Mcb, interconnection 3 core 4 sqmm flexible cable etc as mention in the drawing on existing granite top table with all materials as required. (6A socket with switch-12 Nos, 16A Socket with switch-4 Nos, 20A c curve Sp Mcb-2 Nos, 32A c curve Dp Mcb-2 Nos, Switches/Sockets-Legrand myrius or Equivalent. MCB-Legrand or Equivalent. Race way citizen or Equivalent. |  | 16 | Each | 19516 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 6 | Supply, Installation , Testing commisioning of pre-fabricated powder coated Electrical Raceway with 6/16Aswitches, 6/16A Socket, 20A & 32A Mcb, interconnection 3 core 4 sqmm flexible cable etc as mention in the drawing on existing granite top table with all materials as required. (6A socket with switch-12 Nos, 16A Socket with switch-4 Nos, 20A c curve Sp Mcb-2 Nos, 32A c curve Dp Mcb-2 Nos, Switches/Sockets-Legrand myrius or Equivalent. MCB-Legrand or Equivalent. Race way citizen or Equivalent. | 16 | Each
7 | Supplying and fixing of following sizes of UPVC Cable Management System along with all accessories on surface including supply of all fixing materials as required as required. | [53 empty] | 7 | Supplying and fixing of following sizes of UPVC Cable Management System along with all accessories on surface including supply of all fixing materials as required as required.
7.1 | 170mm x 57mm (MK Prestige 3D) |  | 45 | Metre | 1550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 7.1 | 170mm x 57mm (MK Prestige 3D) | 45 | Metre
8 | Fixing of following ways surface/ recess mounting, Horizontal/vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . Note: DB will be supplied by department | [53 empty] | 8 | Fixing of following ways surface/ recess mounting, Horizontal/vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . Note: DB will be supplied by department
8.1 | Upto 12 way |  | 4 | Each | 967 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 8.1 | Upto 12 way | 4 | Each
9 | Fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Note: MCB will be supplied by department | [53 empty] | 9 | Fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Note: MCB will be supplied by department
9.1 | Single Pole |  | 36 | Each | 79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 9.1 | Single Pole | 36 | Each
9.2 | Triple Pole |  | 6 | Each | 79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 9.2 | Triple Pole | 6 | Each
10 | Fixing, testing and commissioning of following rating RCBO or MCCB as required in existing vertical distribution board including drilling holes in the vertical distribution board, making connections etc as required at incomer. Note: RCBO/MCCB will be supplied by department | [53 empty] | 10 | Fixing, testing and commissioning of following rating RCBO or MCCB as required in existing vertical distribution board including drilling holes in the vertical distribution board, making connections etc as required at incomer. Note: RCBO/MCCB will be supplied by department
10.1 | upto 63A 4 pole RCBO/MCCB |  | 4 | Each | 158 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 10.1 | upto 63A 4 pole RCBO/MCCB | 4 | Each
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information