## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Providing power supply for Digital billboard in IISER, Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Basic unit Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Supply of following sizes 1.1 KV XLPE insulated, FRLS Aluminium armoured Conductor, PVC inner sheathed, overall PVC sheathed cable in conformity to the technical specification and as per latest IS - codes. | [53 empty] | 1 | Supply of following sizes 1.1 KV XLPE insulated, FRLS Aluminium armoured Conductor, PVC inner sheathed, overall PVC sheathed cable in conformity to the technical specification and as per latest IS - codes.
1.1 | 3.5 core x 70 sqmm |  | 300 | meter | 777.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.1 | 3.5 core x 70 sqmm | 300 | meter
2 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing DWC/ HUME/ METAL pipe as required | [53 empty] | 2 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing DWC/ HUME/ METAL pipe as required
2.1 | Above 35 sq. mm and upto 95 sq. mm |  | 250 | meter | 65.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.1 | Above 35 sq. mm and upto 95 sq. mm | 250 | meter
3 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | [53 empty] | 3 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
3.1 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) |  | 30 | No | 144.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.1 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 30 | No
4 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required | [53 empty] | 4 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required
4.1 | Above 35 sq. mm and upto 95 sq. mm |  | 20 | No | 52.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4.1 | Above 35 sq. mm and upto 95 sq. mm | 20 | No
5 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KVgrade as required. | [53 empty] | 5 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KVgrade as required.
5.1 | 3½ X 70 sq. mm (38mm) |  | 2 | Each | 512.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.1 | 3½ X 70 sq. mm (38mm) | 2 | Each
6 | Installation, testing and commisioning of 160A TPN MCCB on outgoing side with all control accessories in existing 415V, 50Hz LT panel including Busbar extension, neccesary control wiring, 150/5A class1 15VA CT-3sets with CT shorting link , RYB indication lamps-3sets, Ammeter , 2A, SPMCB-3 nos,suitable connnectors etc and all related works as directed by Engineer in charge. Note 1. The CTs shall be cast resin type 2. The supply of the CTs, digital Multi Function Meter, busbar interconnection with insulation sleeve, 1.5sqmm FRLS PVC copper control wires, LED indication lamps, SPMCBs, suitable din rail will be under the scope of contractor 3. MCCB will be iisued from the department 4. The Multi Function meter should have RS 485 port |  | 1 | Each | 13676.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 6 | Installation, testing and commisioning of 160A TPN MCCB on outgoing side with all control accessories in existing 415V, 50Hz LT panel including Busbar extension, neccesary control wiring, 150/5A class1 15VA CT-3sets with CT shorting link , RYB indication lamps-3sets, Ammeter , 2A, SPMCB-3 nos,suitable connnectors etc and all related works as directed by Engineer in charge. Note 1. The CTs shall be cast resin type 2. The supply of the CTs, digital Multi Function Meter, busbar interconnection with insulation sleeve, 1.5sqmm FRLS PVC copper control wires, LED indication lamps, SPMCBs, suitable din rail will be under the scope of contractor 3. MCCB will be iisued from the department 4. The Multi Function meter should have RS 485 port | 1 | Each
7 | Supplying and fixing IP 65 weather proof enclosure on surafce/recess for fixing MCCB complete with connections, testing and commissioning etc. as required. Note: MCCB shall be issued from department |  | 1 | Each | 2631.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 7 | Supplying and fixing IP 65 weather proof enclosure on surafce/recess for fixing MCCB complete with connections, testing and commissioning etc. as required. Note: MCCB shall be issued from department | 1 | Each
8 | Earthing with driven copper rod 3feet long on ground including accessories, as required. |  | 2 | Each | 569.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 8 | Earthing with driven copper rod 3feet long on ground including accessories, as required. | 2 | Each
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information