## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Electrical works for security cabin in entrance gate near Residence area, IISER , Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | [53 empty] | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
1.1 | Group A |  | 9 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.1 | Group A | 9 | Each
2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. | [53 empty] | 2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
2.1 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire |  | 30 | Metre | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.1 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 30 | Metre
2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire |  | 30 | Metre | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 30 | Metre
3 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | [53 empty] | 3 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
3.1 | 20 mm |  | 10 | Metre | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.1 | 20 mm | 10 | Metre
4 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. |  | 1 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 1 | Each
5 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. |  | 1 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 1 | Each
6 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. | [53 empty] | 6 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required.
6.1 | 1 or 2 Module (75mmX75mm) |  | 1 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 6.1 | 1 or 2 Module (75mmX75mm) | 1 | Each
7 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. | [53 empty] | 7 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required.
7.1 | 1 or 2 Module |  | 1 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 7.1 | 1 or 2 Module | 1 | Each
8 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | [53 empty] | 8 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
8.1 | RJ 45 data socket |  | 1 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 8.1 | RJ 45 data socket | 1 | Each
9 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. |  | 1 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 9 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 1 | Each
10 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. |  | 1 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 10 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 1 | Each
11 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. |  | 5 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 11 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | 5 | Each
12 | Installation, testing and commissioning of pre-wired, LED light fixtures of all types, complete with all accessories directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. |  | 4 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 12 | Installation, testing and commissioning of pre-wired, LED light fixtures of all types, complete with all accessories directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 4 | Each
13 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. |  | 1 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 13 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. | 1 | Each
14 | Supplying and fixing extra conduit down rod of 20 cm length G.I. pipe 15 mm dia, heavy gauge including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) |  | 3 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 14 | Supplying and fixing extra conduit down rod of 20 cm length G.I. pipe 15 mm dia, heavy gauge including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | 3 | Each
15 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providng and fixing 2 nos. 3 pin 5/6 A modular socket outlet and 2 nos. 5/6 A modular switch, connections etc. as required. |  | 1 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 15 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providng and fixing 2 nos. 3 pin 5/6 A modular socket outlet and 2 nos. 5/6 A modular switch, connections etc. as required. | 1 | Each
16 | Supply, installation, testing and commissioning of LED bulkhead with not more than 10W power, the fixture should be epoxy power coated pressure die-cast alluminium alloy housing, THD<10%, 5700 pure white, minimum 4 KV surge protection IP 65 protection including necessary interconnections and earthing complete as required. Approved makes : Bajaj WEE PLUS BIB WP/Philips/Crompton/Havells |  | 4 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 16 | Supply, installation, testing and commissioning of LED bulkhead with not more than 10W power, the fixture should be epoxy power coated pressure die-cast alluminium alloy housing, THD<10%, 5700 pure white, minimum 4 KV surge protection IP 65 protection including necessary interconnections and earthing complete as required. Approved makes : Bajaj WEE PLUS BIB WP/Philips/Crompton/Havells | 4 | Each
17 | Supply, installation, testing and commissioning of exhaust fan with plastic body with 200 mm sweep, power not less than 28Watts, air flow 500 cmh, RPM not less than 1350 with inbuilt louvers and with necessary connectons complete as required. Approved makes : Bajaj maxima DX/Usha/ Crompton/Havells) |  | 1 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 17 | Supply, installation, testing and commissioning of exhaust fan with plastic body with 200 mm sweep, power not less than 28Watts, air flow 500 cmh, RPM not less than 1350 with inbuilt louvers and with necessary connectons complete as required. Approved makes : Bajaj maxima DX/Usha/ Crompton/Havells) | 1 | Each
18 | Fixing of following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator). (Note : DB will be supplied by the department free of cost) | [53 empty] | 18 | Fixing of following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator). (Note : DB will be supplied by the department free of cost)
18.1 | 8 way , Double door |  | 1 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 18.1 | 8 way , Double door | 1 | Each
19 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | [53 empty] | 19 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
19.1 | Single pole |  | 5 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 19.1 | Single pole | 5 | Each
20 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. |  | 2 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 20 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 2 | Each
21 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | [53 empty] | 21 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.
21.1 | 25 Amps |  | 1 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 21.1 | 25 Amps | 1 | Each
22 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching and re-filling etc as required | [53 empty] | 22 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching and re-filling etc as required
22.1 | 32 mm dia (medium class) |  | 10 | Metre | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 22.1 | 32 mm dia (medium class) | 10 | Metre
23 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per directionof Engineer - in - charge | [53 empty] | 23 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per directionof Engineer - in - charge
23.1 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 0.4 | cum | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 23.1 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 0.4 | cum
24 | Providing and laying in position cement concrete of specified gradeexcluding the cost of centering and shuttering - All work up to plinth level | [53 empty] | 24 | Providing and laying in position cement concrete of specified gradeexcluding the cost of centering and shuttering - All work up to plinth level
24.1 | 1:3:6 (1 cement : 3 manufactured sand derived from Recycled concrete Aggregate (RCA) : 6 graded stone aggregate 20 mm nominal size Recycled Aggregate (RA) ) |  | 0.4 | cum | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 24.1 | 1:3:6 (1 cement : 3 manufactured sand derived from Recycled concrete Aggregate (RCA) : 6 graded stone aggregate 20 mm nominal size Recycled Aggregate (RA) ) | 0.4 | cum
25 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. | [53 empty] | 25 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required.
25.1 | Upto 35 sqmm |  | 30 | Metre | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 25.1 | Upto 35 sqmm | 30 | Metre
26 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. | [53 empty] | 26 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
26.1 | Upto 35 sqmm |  | 4 | Metre | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 26.1 | Upto 35 sqmm | 4 | Metre
27 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | [53 empty] | 27 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
27.1 | Upto 35 sqmm (clamped with 1 mm thick saddle) |  | 20 | Metre | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 27.1 | Upto 35 sqmm (clamped with 1 mm thick saddle) | 20 | Metre
28 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. | [53 empty] | 28 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required.
28.1 | Upto 35 sqmm (clamped with 1 mm thick saddle) |  | 15 | Metre | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 28.1 | Upto 35 sqmm (clamped with 1 mm thick saddle) | 15 | Metre
29 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | [53 empty] | 29 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
29.1 | 3C x 6 sqmm Armoured Al cable |  | 4 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 29.1 | 3C x 6 sqmm Armoured Al cable | 4 | Each
29.2 | 3C x 25 sqmm Armoured Al cable |  | 1 | Each | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 29.2 | 3C x 25 sqmm Armoured Al cable | 1 | Each
30 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | [53 empty] | 30 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
30.1 | 63 mm dia (OD-63 mm & ID-51 mm nominal) |  | 30 | Metre | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 30.1 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 30 | Metre
31 | Supply and fixing of weather proof terminal box on surface/recess along with din rail, 1 no 6 amps 240 volts "C" curve SP MCB with necessary connections complete as required. (weather proof terminl box: SintexModel No. GSJB-2014/Equivalent) |  | 1 | Each | 145.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 31 | Supply and fixing of weather proof terminal box on surface/recess along with din rail, 1 no 6 amps 240 volts "C" curve SP MCB with necessary connections complete as required. (weather proof terminl box: SintexModel No. GSJB-2014/Equivalent) | 1 | Each
Total in Figures | [51 empty] | 0 | #REF! | INR Zero Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information