## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Electrical works for the New Lab facility at Earth, Environmental and Sustainability Sciences Building at IISER, Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Wiring for light points/ fan points/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthingnthe point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required |  | 22 | Point | 1560 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Wiring for light points/ fan points/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthingnthe point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required | 22 | Point
2 | Wiring for group controlled (looped) light point/ fan point/ exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. |  | 4 | Point | 912 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Wiring for group controlled (looped) light point/ fan point/ exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | 4 | Point
3 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/UPVC Trunking as required. | [53 empty] | 3 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/UPVC Trunking as required.
3.1 | 3 x 2.5 sq. mm |  | 50 | metre | 146 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.1 | 3 x 2.5 sq. mm | 50 | metre
3.2 | 3 x 4 sq. mm |  | 320 | metre | 219 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.2 | 3 x 4 sq. mm | 320 | metre
3.3 | 4x 16sqmm + 2x 6qmm for earth wire |  | 100 | metre | 1240 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.3 | 4x 16sqmm + 2x 6qmm for earth wire | 100 | metre
4 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | [53 empty] | 4 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
4.1 | 25 mm |  | 126 | metre | 154 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.1 | 25 mm | 126 | metre
4.2 | 32 mm |  | 35 | metre | 196 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.2 | 32 mm | 35 | metre
5 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, interconnecting clamps,bends,end caps, joint covers, internal and external corners, dividers, fixing screws as required | [53 empty] | 5 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, interconnecting clamps,bends,end caps, joint covers, internal and external corners, dividers, fixing screws as required
5.1 | 32mm x 12mm |  | 20 | metre | 76.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.1 | 32mm x 12mm | 20 | metre
5.2 | 100mm x 50mm |  | 20 | metre | 407.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.2 | 100mm x 50mm | 20 | metre
6 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | [53 empty] | 6 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
6.1 | 16 A switch (Including AC) |  | 13 | Each | 166 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.1 | 16 A switch (Including AC) | 13 | Each
6.2 | 6 pin 16 A socket outlet |  | 13 | Each | 209 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.2 | 6 pin 16 A socket outlet | 13 | Each
6.3 | 6 A switch |  | 3 | Each | 110 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.3 | 6 A switch | 3 | Each
6.4 | 3 pin 6 A socket outlet |  | 4 | Each | 130 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.4 | 3 pin 6 A socket outlet | 4 | Each
6.5 | 6 A switch(black coloured) |  | 9 | Each | 150 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.5 | 6 A switch(black coloured) | 9 | Each
6.6 | 16 A switch(black coloured) |  | 14 | Each | 225 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.6 | 16 A switch(black coloured) | 14 | Each
6.7 | 3 pin 6 A socket outlet(black coloured) |  | 9 | Each | 234 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.7 | 3 pin 6 A socket outlet(black coloured) | 9 | Each
6.8 | 6 pin 16 A socket outlet(black coloured) |  | 14 | Each | 333 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.8 | 6 pin 16 A socket outlet(black coloured) | 14 | Each
7 | Supplying and fixing following Modular base & cover plate on existing modular metal/PVC boxes etc. as required. | [53 empty] | 7 | Supplying and fixing following Modular base & cover plate on existing modular metal/PVC boxes etc. as required.
7.1 | 2Module (14Nos for AC + 4Nos for Wall Fan) |  | 18 | Each | 141 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.1 | 2Module (14Nos for AC + 4Nos for Wall Fan) | 18 | Each
7.2 | 3 Module |  | 1 | Each | 161 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.2 | 3 Module | 1 | Each
7.3 | 6 Module |  | 2 | Each | 194 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.3 | 6 Module | 2 | Each
7.4 | 8 Module |  | 1 | Each | 224 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.4 | 8 Module | 1 | Each
7.5 | 3 Module(black coloured) |  | 2 | Each | 171 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.5 | 3 Module(black coloured) | 2 | Each
7.6 | 6 Module(black coloured) |  | 12 | Each | 283 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.6 | 6 Module(black coloured) | 12 | Each
8 | Supplying and fixing following size/ modules, PVC surface box on existing wall as required. | [53 empty] | 8 | Supplying and fixing following size/ modules, PVC surface box on existing wall as required.
8.1 | 2 Module (AC Socket) |  | 7 | Each | 143 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.1 | 2 Module (AC Socket) | 7 | Each
9 | Supplying and fixing following size/ modules, GI box concealed on existing wall as required. | [53 empty] | 9 | Supplying and fixing following size/ modules, GI box concealed on existing wall as required.
9.1 | 2 Module (for AC switch control & Wall Fan) |  | 11 | Each | 169 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.1 | 2 Module (for AC switch control & Wall Fan) | 11 | Each
10 | Installation of 8/12 ways vertical type, 415 V, TPN MCB distribution board of sheet steel,for mounting on wall including fixing of SP/TP/FP MCBs and interconnnections as required and as directed by Engineer incharge.(Legrand make Distribution boards will be issued from departmetn on free of cost |  | 2 | Each | 533 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10 | Installation of 8/12 ways vertical type, 415 V, TPN MCB distribution board of sheet steel,for mounting on wall including fixing of SP/TP/FP MCBs and interconnnections as required and as directed by Engineer incharge.(Legrand make Distribution boards will be issued from departmetn on free of cost | 2 | Each
11 | Supplying and fixing following rating four pole 415V residual current circuit breaker (RCCB), having a sensitivity current of 30mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. Note: DB Make - Legrand | [53 empty] | 11 | Supplying and fixing following rating four pole 415V residual current circuit breaker (RCCB), having a sensitivity current of 30mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. Note: DB Make - Legrand
11.1 | 63A |  | 2 | Each | 3054 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.1 | 63A | 2 | Each
12 | Supplying and fixing following rating four pole 415V miniature circuit breaker (MCB) 'C' curve, in the existing MCB DB/panel complete with connections, testing and commissioning etc. as required. Note: DB Make - Legrand | [53 empty] | 12 | Supplying and fixing following rating four pole 415V miniature circuit breaker (MCB) 'C' curve, in the existing MCB DB/panel complete with connections, testing and commissioning etc. as required. Note: DB Make - Legrand
12.1 | 63A |  | 2 | Each | 2066 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.1 | 63A | 2 | Each
13 | Supplying and fixing 5A to 32A rating, 240/415V, 10kA, "C" curve single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make : Legrand/Siemens | [53 empty] | 13 | Supplying and fixing 5A to 32A rating, 240/415V, 10kA, "C" curve single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make : Legrand/Siemens
13.1 | Single pole - 16A |  | 40 | Each | 272 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.1 | Single pole - 16A | 40 | Each
14 | Dismantling of conduit mounted box type light fixture with two nos of lamp (Make : Philips) |  | 8 | Each | 123 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14 | Dismantling of conduit mounted box type light fixture with two nos of lamp (Make : Philips) | 8 | Each
15 | Dismantling of 1200sweep ceiling fan. |  | 10 | Each | 102 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15 | Dismantling of 1200sweep ceiling fan. | 10 | Each
16 | Dismantling of Linear light (Make : Pureline series) and Re-Installation, testing and commissioning of the same on gypsum false ceiling including supply and fixing of necessary threaded rod support and wiring with 3C x 1.5sq.mm PVC insulated copper conductor flexible cable and earthing etc as required. |  | 10 | Each | 814 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16 | Dismantling of Linear light (Make : Pureline series) and Re-Installation, testing and commissioning of the same on gypsum false ceiling including supply and fixing of necessary threaded rod support and wiring with 3C x 1.5sq.mm PVC insulated copper conductor flexible cable and earthing etc as required. | 10 | Each
17 | Supplying and fixing extra down rod of 20cm length GI pipe , 15mm dia heavy guage including painting etc. as required. (Note: More than 5cm length shall be rounded to the nearest 10cm and 5cm or less shall be ignored) |  | 20 | Each | 55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17 | Supplying and fixing extra down rod of 20cm length GI pipe , 15mm dia heavy guage including painting etc. as required. (Note: More than 5cm length shall be rounded to the nearest 10cm and 5cm or less shall be ignored) | 20 | Each
18 | Installation, testing, commissioning of 2x2 light fixture complete with all accessories including supply of necessary powder coated frame suitable for mounting on gypsum false ceiling, connections with 1.5sq.mm FRLS PVC insulated copper conductor and earthing etc as required. |  | 11 | Each | 435 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18 | Installation, testing, commissioning of 2x2 light fixture complete with all accessories including supply of necessary powder coated frame suitable for mounting on gypsum false ceiling, connections with 1.5sq.mm FRLS PVC insulated copper conductor and earthing etc as required. | 11 | Each
19 | Supply and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc as required. |  | 4 | Each | 392 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 19 | Supply and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc as required. | 4 | Each
20 | Installation testing and commissioning of ceiling fan, including wiring the down rod of standard length (upto 30cm) with 1.5sq.mm FRLS PVC insulated copper conductor single core cable etc as required. |  | 4 | Each | 226 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 20 | Installation testing and commissioning of ceiling fan, including wiring the down rod of standard length (upto 30cm) with 1.5sq.mm FRLS PVC insulated copper conductor single core cable etc as required. | 4 | Each
21 | Supply, installation testing and commissioning of BLDC wall fan with remote for speed control and all necessary accessories. |  | 2 | Each | 5238 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 21 | Supply, installation testing and commissioning of BLDC wall fan with remote for speed control and all necessary accessories. | 2 | Each
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information