## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: External lighting at Director’s House in IISERTVM campus, Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Supply,installation, testing and commissioning of pre-wired LED column light fixture(as per the technical specification below) on RCC pole foundation as per pole manufacturer's recommendation including earth excavation, 6A DP 'C' Curve MCB, cable entry pipes, terminal block and looping, earthing etc. complete as required and as directed by Engineer in charge.The pole foundation above the FFL should be nealty cemenet plastered with fine sand. Technical specification: System wattage: not less than 36W System lumen: not less than 3800LUMEN Operatin voltage: 100-277V Power factor: >= 0.95 THD: <=10% CCT: 3000K Paint: Factory Power coated grey or black Height: >= 3meter Ingrees protection: IP65 Impact proctection: IK07 Surge protectiopn:6kV Burning hours: 50,000hrs Housing: Aluminium Diffuser: Translucent Polycarbonate diffuser BIS marking: Required Warranty: 24months (Approved make: Havells Grandeur,Klite Column light, Philips signify lumec) |  | 7 | each | 39370.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1 | Supply,installation, testing and commissioning of pre-wired LED column light fixture(as per the technical specification below) on RCC pole foundation as per pole manufacturer's recommendation including earth excavation, 6A DP 'C' Curve MCB, cable entry pipes, terminal block and looping, earthing etc. complete as required and as directed by Engineer in charge.The pole foundation above the FFL should be nealty cemenet plastered with fine sand. Technical specification: System wattage: not less than 36W System lumen: not less than 3800LUMEN Operatin voltage: 100-277V Power factor: >= 0.95 THD: <=10% CCT: 3000K Paint: Factory Power coated grey or black Height: >= 3meter Ingrees protection: IP65 Impact proctection: IK07 Surge protectiopn:6kV Burning hours: 50,000hrs Housing: Aluminium Diffuser: Translucent Polycarbonate diffuser BIS marking: Required Warranty: 24months (Approved make: Havells Grandeur,Klite Column light, Philips signify lumec) | 7 | each
2 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | [53 empty] | 2 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
2.1 | 63 mm dia (OD-63 mm & ID-51 mm nominal) |  | 75 | metre | 262.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.1 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 75 | metre
3 | Supply of one number XLPE power cable of 1.1 kV grade of following size as required. | [53 empty] | 3 | Supply of one number XLPE power cable of 1.1 kV grade of following size as required.
3.1 | 4C x 6 sqmm Aluminium armoured cable |  | 80 | metre | 205.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.1 | 4C x 6 sqmm Aluminium armoured cable | 80 | metre
4 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade size upto 35sqmm in the existing RCC/ HUME/ METAL/HDPE pipe as required. |  | 80 | Metre | 39.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade size upto 35sqmm in the existing RCC/ HUME/ METAL/HDPE pipe as required. | 80 | Metre
5 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1kV grade as required. | [53 empty] | 5 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1kV grade as required.
5.1 | 4C X 6 sq. mm |  | 14 | each | 286.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.1 | 4C X 6 sq. mm | 14 | each
6 | Supplying and fixing SMC/FRP weather proof terminal box on surface/ recess on pole foudnation along with din rail complete with connections, testing and commissioning etc. as required. (Weather proof terminal box: Sintex Model No. GSJB-2014/Equivalent) |  | 7 | each | 1240.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 6 | Supplying and fixing SMC/FRP weather proof terminal box on surface/ recess on pole foudnation along with din rail complete with connections, testing and commissioning etc. as required. (Weather proof terminal box: Sintex Model No. GSJB-2014/Equivalent) | 7 | each
7 | Supplying and fixing following rating items in the existing MCB DB complete with connections, testing and commissioning etc. as required | [53 empty] | 7 | Supplying and fixing following rating items in the existing MCB DB complete with connections, testing and commissioning etc. as required
7.1 | 25A, Residual current circuit breaker (RCCB), double pole, 240 V, having a sensitivity current 100 mA |  | 1 | each | 1971 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 7.1 | 25A, Residual current circuit breaker (RCCB), double pole, 240 V, having a sensitivity current 100 mA | 1 | each
7.2 | 25A, 1NO-Modular contactor |  | 1 | each | 1469 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 7.2 | 25A, 1NO-Modular contactor | 1 | each
8 | Supplying,installation,testing and commissioning of Astronomical time switch of following configuration to be mounted in feeder pillars / Lighting DBs for automatic switching On & OFF of street lights at sun set & sun rise or twilight(Auto ON, Auto OFF, Auto modes) with manual override facility with 12/24 hour display format with suitable battery and indication for relay status i/c programming at site complete as required. | [53 empty] | 8 | Supplying,installation,testing and commissioning of Astronomical time switch of following configuration to be mounted in feeder pillars / Lighting DBs for automatic switching On & OFF of street lights at sun set & sun rise or twilight(Auto ON, Auto OFF, Auto modes) with manual override facility with 12/24 hour display format with suitable battery and indication for relay status i/c programming at site complete as required.
8.1 | 1 output per phase and suitable for single phase supply |  | 1 | each | 4666.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 8.1 | 1 output per phase and suitable for single phase supply | 1 | each
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information