## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Electrification of toilet near Children's park at IISER, Thiruvananthpuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group B |  | 3 | point | 1256.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group B | 3 | point
2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. | [53 empty] | 2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
2.1 | 2 x 2.5 sq.mm + 1 x 2.5 sq.mm earth wire |  | 5 | metre | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.1 | 2 x 2.5 sq.mm + 1 x 2.5 sq.mm earth wire | 5 | metre
3 | Supplying and fixing following modular switch/ socket with modular plate on existing switch box including connections as required | [53 empty] | 3 | Supplying and fixing following modular switch/ socket with modular plate on existing switch box including connections as required
3.1 | 15/16 A switch |  | 1 | Each | 165.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.1 | 15/16 A switch | 1 | Each
3.2 | 6 pin 15/16 A socket outlet |  | 1 | Each | 209.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.2 | 6 pin 15/16 A socket outlet | 1 | Each
3.3 | 3 Module Modular base & cover plate |  | 1 | Each | 160.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.3 | 3 Module Modular base & cover plate | 1 | Each
4 | Installation ,Testing, Commissioning of LED batten fittings of all sizes on wall/ceiling complete with all accessories including connections etc. as required.(Light fixture will be issued by department on free of cost) |  | 2 | Each | 126.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4 | Installation ,Testing, Commissioning of LED batten fittings of all sizes on wall/ceiling complete with all accessories including connections etc. as required.(Light fixture will be issued by department on free of cost) | 2 | Each
5 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. |  | 3 | Each | 92.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | 3 | Each
6 | Supplying and fixing weather proof terminal box with din rail on surface/ recess as required. (Weather proof terminal box: Sintex Model No. GSJB-2520/Equivalent) |  | 1 | Each | 2211.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 6 | Supplying and fixing weather proof terminal box with din rail on surface/ recess as required. (Weather proof terminal box: Sintex Model No. GSJB-2520/Equivalent) | 1 | Each
7 | Supplying and fixing 5A to 32A rating, 240/415V, 10kA, "C" curve single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make : Legrand | [53 empty] | 7 | Supplying and fixing 5A to 32A rating, 240/415V, 10kA, "C" curve single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make : Legrand
7.1 | Single pole |  | 2 | Each | 272.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 7.1 | Single pole | 2 | Each
8 | Supplying and fixing following rating double pole 240V residual current circuit breaker (RCCB), having a sensitivity current of 30mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. Note: DB Make - Legrand | [53 empty] | 8 | Supplying and fixing following rating double pole 240V residual current circuit breaker (RCCB), having a sensitivity current of 30mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. Note: DB Make - Legrand
8.1 | 25A |  | 1 | Each | 2156.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 8.1 | 25A | 1 | Each
9 | Supply of following size 1.1kV,PVC FRLS sheathed XLPE insulated aluminium armoured cable | [53 empty] | 9 | Supply of following size 1.1kV,PVC FRLS sheathed XLPE insulated aluminium armoured cable
9.1 | 3C x 6sqmm |  | 50 | metre | 181.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 9.1 | 3C x 6sqmm | 50 | metre
10 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1kV grade of following size on wall surface as required. | [53 empty] | 10 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1kV grade of following size on wall surface as required.
10.1 | Upto 35sq.mm (clamped with 1mm thick saddle) |  | 50 | metre | 58.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 10.1 | Upto 35sq.mm (clamped with 1mm thick saddle) | 50 | metre
11 | Supplying and making end termination with gland and lugs for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1kV grade as required. | [53 empty] | 11 | Supplying and making end termination with gland and lugs for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1kV grade as required.
11.1 | 3C x 4sqmm XLPE insulated copper armoured cable. |  | 2 | each | 273.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 11.1 | 3C x 4sqmm XLPE insulated copper armoured cable. | 2 | each
12 | Supply and installation of following size exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required | [53 empty] | 12 | Supply and installation of following size exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required
12.1 | 150mm sweep round plastic exhasut fan |  | 1 | each | 1945.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 12.1 | 150mm sweep round plastic exhasut fan | 1 | each
Total in Figures | [51 empty] | 0 | #REF! | INR Zero Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information