## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Minor Electrical works in various locations at IISER, Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/UPVC Trunking as required. | [53 empty] | 1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/UPVC Trunking as required.
1.1 | 2 x 2.5 sq.mm + 1 x 2.5 sq.mm earth wire |  | 22 | metre | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | 2 x 2.5 sq.mm + 1 x 2.5 sq.mm earth wire | 22 | metre
1.2 | 2 x 4 sq.mm + 1 x 4 sq.mm earth wire |  | 41 | metre | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.2 | 2 x 4 sq.mm + 1 x 4 sq.mm earth wire | 41 | metre
1.3 | 2 x 10 sq.mm + 1 x 6 sq.mm earth wire |  | 20 | metre | 292.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.3 | 2 x 10 sq.mm + 1 x 6 sq.mm earth wire | 20 | metre
2 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface medium class PVC conduit as required. | [53 empty] | 2 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface medium class PVC conduit as required.
2.1 | 2 x 2.5 sq.mm + 1 x 2.5 sq.mm earth wire |  | 15 | metre | 145.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.1 | 2 x 2.5 sq.mm + 1 x 2.5 sq.mm earth wire | 15 | metre
2.2 | 2 x 4 sq.mm + 1 x 4 sq.mm earth wire |  | 50 | metre | 145.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.2 | 2 x 4 sq.mm + 1 x 4 sq.mm earth wire | 50 | metre
2.3 | 2 x 10 sq.mm + 1 x 6 sq.mm earth wire |  | 16 | metre | 145.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.3 | 2 x 10 sq.mm + 1 x 6 sq.mm earth wire | 16 | metre
3 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, interconnecting clamps,bends,end caps, joint covers, internal and external corners, dividers, fixing screws as required | [53 empty] | 3 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, interconnecting clamps,bends,end caps, joint covers, internal and external corners, dividers, fixing screws as required
3.1 | 25mm x 12mm |  | 62 | metre | 3476 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.1 | 25mm x 12mm | 62 | metre
4 | Wiring for light point/ fan point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in PVC casing capping with modular switch, modular plate, suitable PVC surface box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. GroupC |  | 2 | Point | 2494.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Wiring for light point/ fan point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in PVC casing capping with modular switch, modular plate, suitable PVC surface box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. GroupC | 2 | Point
5 | Supplying and fixing suitable size/modules PVC box with modular plate and cover in front on surface , including providing and fixing 2Nos 3pin 5/6A modular socket outlet and 2Nos 5/6A modular switch, connections etc. as required. Note: PVC surface box will be issued by department. |  | 2 | Each | 2494.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5 | Supplying and fixing suitable size/modules PVC box with modular plate and cover in front on surface , including providing and fixing 2Nos 3pin 5/6A modular socket outlet and 2Nos 5/6A modular switch, connections etc. as required. Note: PVC surface box will be issued by department. | 2 | Each
6 | Supply and fixing of type-2 15kA rating Surge Protction ndevice of 1P+N configuration on existing distribution board with necessary interconnection as required |  | 1 | Each | 3476 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6 | Supply and fixing of type-2 15kA rating Surge Protction ndevice of 1P+N configuration on existing distribution board with necessary interconnection as required | 1 | Each
7 | Fixing of FP steel enclosure on surface, 40A 2P, RCCB and 40A 2P,MCB complete with interconnections, testing and commissioning etc as required. Note: FP steel enclosure, RCCB, MCB and enclosure will be issued from department |  | 1 | Each | 2494.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7 | Fixing of FP steel enclosure on surface, 40A 2P, RCCB and 40A 2P,MCB complete with interconnections, testing and commissioning etc as required. Note: FP steel enclosure, RCCB, MCB and enclosure will be issued from department | 1 | Each
8 | Supply and Fixing 18A,3 pole contactor with 415V coil voltage on 8way enclosure on wall, 3pole isolator complete with interconnections, testing and commissioning etc as required. Note: 8way enclosure, 3pole isolator will be issued from department |  | 1 | Each | 2494.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8 | Supply and Fixing 18A,3 pole contactor with 415V coil voltage on 8way enclosure on wall, 3pole isolator complete with interconnections, testing and commissioning etc as required. Note: 8way enclosure, 3pole isolator will be issued from department | 1 | Each
9 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. |  | 2 | Each | 92.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | 2 | Each
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information