## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Solar Street lighting at Community welfare center and Enhancement of lighting at Students park in IISER, Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Supply,installation, testing and commissioning of Smart Integrated hybrid Solar Street Light with built in mono crystalline panel, Lithium Ferro Phospate battery, MPPT Charge Controller and PIR Sensor with 2 Days Autonomy and Dimming Profile on existing octagonal pole as required. Luminaire shall comply with techical specification as below:- 1. Solar panel : 60Wp +/-7W monocrystalline type 2. PIR sensor 3. IP 65 4. LED lamp life: 50000 Hrs 5. Battery : Lithium Ferro Phospate Battery or Lithium ION 6. Charge controller: MPPT with efficiency >= 90% 7. CRI: > 70 8. LED lumens: Minimum 6000lumens 9. Lumen efficiency: Minimum 150 Lumen/W 9. Colour Temperature 5700-6500K 10. Autonomy: 2 days 11. Working temperature: -10 deg C to +55 deg C 12. Height of installation: 4-5 meter 13. Hybrid switch: Inbuilt Model: Bajaj/Philips /Havells/Halonix |  | 20 | Each | 53448 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Supply,installation, testing and commissioning of Smart Integrated hybrid Solar Street Light with built in mono crystalline panel, Lithium Ferro Phospate battery, MPPT Charge Controller and PIR Sensor with 2 Days Autonomy and Dimming Profile on existing octagonal pole as required. Luminaire shall comply with techical specification as below:- 1. Solar panel : 60Wp +/-7W monocrystalline type 2. PIR sensor 3. IP 65 4. LED lamp life: 50000 Hrs 5. Battery : Lithium Ferro Phospate Battery or Lithium ION 6. Charge controller: MPPT with efficiency >= 90% 7. CRI: > 70 8. LED lumens: Minimum 6000lumens 9. Lumen efficiency: Minimum 150 Lumen/W 9. Colour Temperature 5700-6500K 10. Autonomy: 2 days 11. Working temperature: -10 deg C to +55 deg C 12. Height of installation: 4-5 meter 13. Hybrid switch: Inbuilt Model: Bajaj/Philips /Havells/Halonix | 20 | Each
2 | Dismantling and re-Installation of solar post top lantern along with 2.5mtr high pole on RCC pole foundation including earth excavation, suitable j bolt,earthing etc complete as required and as directed by Engineer in charge. Note: The pole foundation above the FFL should be nealty cemenet plastered with fine sand. |  | 4 | Each | 4022 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Dismantling and re-Installation of solar post top lantern along with 2.5mtr high pole on RCC pole foundation including earth excavation, suitable j bolt,earthing etc complete as required and as directed by Engineer in charge. Note: The pole foundation above the FFL should be nealty cemenet plastered with fine sand. | 4 | Each
3 | Supply,installation, testing and commissioning of Solar all in one LED post top lantern with built in mono crystalline panel, Lithium Ferro Phospate battery, MPPT Charge Controller with 2 Days Autonomy and Dimming Profile on pole made of 80mm dia, 4mtr high, class 'C' GI pipe with 300mmx300mm x16mm MS plate welded to the pole base including painting the pole with two coats of synthetic enamel paint and epoxy primer as required at site. Luminaire shall comply with technical specification as below:- 1. Solar panel : 35Wp monocrystalline type 2. PIR sensor 3. IP 65 minimum 4. LED burning hours(L70): 50000 Hrs 5. Battery : Lithium Ferro Phospate Battery or Lithium ION 6. Charge controller: MPPT with efficiency >= 90% 7. LED lumens: Minimum 5500lumens 8. Lumen efficiency: Minimum 190 Lumen/W 9. Colour Temperature 5700-6500K 10. Autonomy: 2 days 11.Luminaire housing: Powder coated Die Cast aluminium 12.Luminaire system wattage: 30W 12. Height of pole: 4 meter Model:Philips solar post top or equivalent as per the specification |  | 4 | Each | 82736 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supply,installation, testing and commissioning of Solar all in one LED post top lantern with built in mono crystalline panel, Lithium Ferro Phospate battery, MPPT Charge Controller and PIR Sensor with 2 Days Autonomy and Dimming Profile on pole made of 80mm dia, 4mtr high, class 'C' GI pipe with 300mmx300mm x16mm MS plate welded to the pole base including painting the pole with two coats of synthetic enamel paint and epoxy primer as required at site. Luminaire shall comply with technical specification as below:- 1. Solar panel : 35Wp monocrystalline type 2. PIR sensor 3. IP 65 minimum 4. LED burning hours(L70): 50000 Hrs 5. Battery : Lithium Ferro Phospate Battery or Lithium ION 6. Charge controller: MPPT with efficiency >= 90% 7. LED lumens: Minimum 5500lumens 8. Lumen efficiency: Minimum 190 Lumen/W 9. Colour Temperature 5700-6500K 10. Autonomy: 2 days 11.Luminaire housing: Powder coated Die Cast aluminium 12.Luminaire system wattage: 30W 12. Height of pole: 4 meter Model:Philips solar post top or equivalent as per the specification | 4 | Each
4 | Supply and installation of following height hot dip galvanised octagonal poles with 130 mm bottom A/F & 70 mm top A/F made up of 3mm thick HR steel sheet along with base plate of size 200X200X12mm thick along with fully galvanised M20x600mm foundation bolts on reinforced cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) or as per the drawing recommended by the pole manufacturer including excavation, refilling, finishing etc. and with 6A DP MCB , 3core x 1.5sqmm flexible PVC copper cable for interconnecting light fixture to the MCB, GI sheet for connecting cable gland, earthing etc as required. | [53 empty] | 4 | Supply and installation of following height hot dip galvanised octagonal poles with 130 mm bottom A/F & 70 mm top A/F made up of 3mm thick HR steel sheet along with base plate of size 200X200X12mm thick along with fully galvanised M20x600mm foundation bolts on reinforced cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) or as per the drawing recommended by the pole manufacturer including excavation, refilling, finishing etc. and with 6A DP MCB , 3core x 1.5sqmm flexible PVC copper cable for interconnecting light fixture to the MCB, GI sheet for connecting cable gland, earthing etc as required.
4.1 | 4meter height |  | 8 | Each | 24249.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.1 | 4meter height | 8 | Each
4.2 | 3meter height |  | 10 | Each | 23111.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.2 | 3meter height | 10 | Each
5 | Supply of FRLS XLPE power cable of 1.1 kV grade of following size as required. | [53 empty] | 5 | Supply of FRLS XLPE power cable of 1.1 kV grade of following size as required.
5.1 | 3C x 2.5 sqmm Copper armoured cable (A2XFY) |  | 340 | Metre | 145 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.1 | 3C x 2.5 sqmm Copper armoured cable (A2XFY) | 340 | Metre
6 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. Direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | [53 empty] | 6 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. Direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
6.1 | 50 mm dia (OD-50 mm & ID-38 mm nominal) |  | 320 | Metre | 143 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.1 | 50 mm dia (OD-50 mm & ID-38 mm nominal) | 320 | Metre
7 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC HUME/ METAL/DWC HDPE pipe as required. | [53 empty] | 7 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC HUME/ METAL/DWC HDPE pipe as required.
7.1 | Upto 35 sq. mm |  | 340 | Metre | 53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.1 | Upto 35 sq. mm | 340 | Metre
8 | Supplying and making end termination with brass compression gland for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1kV grade as required. | [53 empty] | 8 | Supplying and making end termination with brass compression gland for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1kV grade as required.
8.1 | 3core X 2.5 sq. mm |  | 35 | Each | 334 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.1 | 3core X 2.5 sq. mm | 35 | Each
9 | Supplying and fixing DP weather proof terminal box on surface/ recess along with 25/32amps 240 volts “C” curve DP MCB complete with connections, testing and commissioning etc. as required. (Weather proof terminal box: Sintex Model No. GSJB-2014/Equivalent) | [53 empty] | 9 | Supplying and fixing DP weather proof terminal box on surface/ recess along with 25/32amps 240 volts “C” curve DP MCB complete with connections, testing and commissioning etc. as required. (Weather proof terminal box: Sintex Model No. GSJB-2014/Equivalent)
9.1 | 6-way |  | 1 | Each | 4921 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.1 | 6-way | 1 | Each
10 | Supply & fixing of copper bonded ground rod having min 100 micron of copper coating, diameter of min 14.2 mm of following length driven into earth with necessary interconnections from pole foundation to earth rod using 10swg Cu. wire. All the interconnections shall be done using stainless steel nut bolts. | [53 empty] | 10 | Supply & fixing of copper bonded ground rod having min 100 micron of copper coating, diameter of min 14.2 mm of following length driven into earth with necessary interconnections from pole foundation to earth rod using 10swg Cu. wire. All the interconnections shall be done using stainless steel nut bolts.
10.1 | 600mm |  | 22 | Each | 887 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.1 | 600mm | 22 | Each
10.2 | 1m |  | 1 | Each | 2647 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.2 | 1m | 1 | Each
11 | Installation,testing and commissioning of pre-wired all in one solar street light fixture directly on existing 3mtr pole and earthing etc.as required. |  | 10 | Each | 296.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11 | Installation,testing and commissioning of pre-wired all in one solar street light fixture directly on existing 3mtr pole and earthing etc.as required. | 10 | Each
12 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required | [53 empty] | 12 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required
12.1 | Single pole |  | 4 | Each | 369.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.1 | Single pole | 4 | Each
12.2 | Double pole |  | 1 | Each | 945.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.2 | Double pole | 1 | Each
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information