## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Electrical works in New Faculty cabins at CSB Entry level, IISER Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. GroupC |  | 12 | point | 2902.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. GroupC | 12 | point
2 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/UPVC Trunking as required. | [53 empty] | 2 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/UPVC Trunking as required.
2.1 | 3 x 2.5 sq. mm |  | 100 | metre | 2902.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.1 | 3 x 2.5 sq. mm | 100 | metre
2.2 | 3 x 4 sq. mm |  | 100 | metre | 2902.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.2 | 3 x 4 sq. mm | 100 | metre
3 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | [53 empty] | 3 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
3.1 | 20 mm |  | 100 | metre | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.1 | 20 mm | 100 | metre
3.2 | 25 mm |  | 100 | metre | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.2 | 25 mm | 100 | metre
4 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, interconnecting clamps,bends,end caps, joint covers, internal and external corners, dividers, fixing screws as required | [53 empty] | 4 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, interconnecting clamps,bends,end caps, joint covers, internal and external corners, dividers, fixing screws as required
4.1 | 25mm x 12mm |  | 100 | metre | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4.1 | 25mm x 12mm | 100 | metre
4.2 | 50mm x 50mm |  | 2 | metre | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4.2 | 50mm x 50mm | 2 | metre
5 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | [53 empty] | 5 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
5.1 | 6 A switch(black coloured) |  | 12 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.1 | 6 A switch(black coloured) | 12 | Each
5.2 | 3 pin 6 A socket outlet(black coloured) |  | 12 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.2 | 3 pin 6 A socket outlet(black coloured) | 12 | Each
5.3 | 6 A switch |  | 6 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.3 | 6 A switch | 6 | Each
5.4 | 3 pin 6 A socket outlet |  | 6 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.4 | 3 pin 6 A socket outlet | 6 | Each
5.5 | 16 A switch(For A/C) |  | 5 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.5 | 16 A switch(For A/C) | 5 | Each
5.6 | 6 pin 16 A socket outlet(For A/C) |  | 5 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.6 | 6 pin 16 A socket outlet(For A/C) | 5 | Each
6 | Supplying and fixing following Modular base & cover plate on modular PVC surface boxes etc. as required. | [53 empty] | 6 | Supplying and fixing following Modular base & cover plate on modular PVC surface boxes etc. as required.
6.1 | 3 Module |  | 6 | Each | 142 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 6.1 | 3 Module | 6 | Each
6.2 | 1/2 Module |  | 10 | Each | 119 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 6.2 | 1/2 Module | 10 | Each
6.3 | 6 Module(black coloured) |  | 6 | Each | 119 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 6.3 | 6 Module(black coloured) | 6 | Each
7 | Fixing of 8/12 ways surface mounted vertical type 220V SPN MCB distribution board of sheet steel, dust protected duly powder painted inclusive of tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCbs (but without MCBs and incomer) as required. Note: (Legrand make DB shall be supplied by Department at free of cost. |  | 1 | Each | 119 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 7 | Fixing of 8/12 ways surface mounted vertical type 220V SPN MCB distribution board of sheet steel, dust protected duly powder painted inclusive of tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCbs (but without MCBs and incomer) as required. Note: (Legrand make DB shall be supplied by Department at free of cost. | 1 | Each
8 | Supplying and fixing 5A to 32A rating, 240/415V, 10kA, "C" curve single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make : Legrand/Siemens | [53 empty] | 8 | Supplying and fixing 5A to 32A rating, 240/415V, 10kA, "C" curve single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make : Legrand/Siemens
8.1 | Single pole |  | 4 | Each | 119 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 8.1 | Single pole | 4 | Each
8.2 | Single pole Neutral- 25A |  | 1 | Each | 119 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 8.2 | Single pole Neutral- 25A | 1 | Each
9 | Supplying and fixing following rating double pole 240V residual current circuit breaker (RCCB), having a sensitivity current of 30mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. Note: DB Make - Legrand | [53 empty] | 9 | Supplying and fixing following rating double pole 240V residual current circuit breaker (RCCB), having a sensitivity current of 30mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. Note: DB Make - Legrand
9.1 | 25A |  | 1 | Each | 6494 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 9.1 | 25A | 1 | Each
Total in Figures | [51 empty] | 0 | #REF! | INR Zero Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information