## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Electrical works for providing additional lights in BSB lounge & lobby at IISER TVM campus, Vithura
Contact No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (switch and cover plate for UPS lighting shall be in black colour) GroupC |  | 3 | Point | 2115 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (switch and cover plate for UPS lighting shall be in black colour) GroupC | 3 | Point
2 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. GroupC |  | 2 | Point | 1237 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. GroupC | 2 | Point
3 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/UPVC Trunking as required. | [53 empty] | 3 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/UPVC Trunking as required.
3.1 | 3 x 1.5 sq. mm |  | 70 | Metre | 137 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.1 | 3 x 1.5 sq. mm | 70 | Metre
4 | Supplying and fixing of following sizes of medium class PVC/flexible conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | [53 empty] | 4 | Supplying and fixing of following sizes of medium class PVC/flexible conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
4.1 | 20 mm |  | 30 | Metre | 185 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.1 | 20 mm | 30 | Metre
5 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, interconnecting clamps,bends,end caps, joint covers, internal and external corners, dividers, fixing screws as required. | [53 empty] | 5 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, interconnecting clamps,bends,end caps, joint covers, internal and external corners, dividers, fixing screws as required.
5.1 | 25mm x 12mm |  | 10 | Metre | 82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.1 | 25mm x 12mm | 10 | Metre
6 | Supply, Installation ,Testing, Commissioning of Track/Light fittings, complete with all accessories (connectors etc) including connections etc. as required and all related works as directed by EIC. | [53 empty] | 6 | Supply, Installation ,Testing, Commissioning of Track/Light fittings, complete with all accessories (connectors etc) including connections etc. as required and all related works as directed by EIC.
6.1 | 30W recess type Round Led COB light , CCT-3000K, Luminous flux-min-3040, cut out -125mm, Beam angle-38, Material- Aluminuim, Body colour-White (Make-Changi CH 2139 30W (MAX) or Equivalent, Warrantty-2 year) |  | 10 | Each | 2494 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.1 | 30W recess type Round Led COB light , CCT-3000K, Luminous flux-min-3040, cut out -125mm, Beam angle-38, Material- Aluminuim, Body colour-White (Make-Changi CH 2139 30W (MAX) or Equivalent, Warrantty-2 year) | 10 | Each
6.2 | 28W recess Round wall washer Led light , CCT-3000K, Luminous flux-min 2383, cut out -90mm, Beam angle-15, Material- Aluminuim, Body colour-White (Make-Changi CH Z-8630 28W (LOTIS) or Equivalent, Warrantty-2 year) |  | 1 | Each | 9903 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.2 | 28W recess Round wall washer Led light , CCT-3000K, Luminous flux-min 2383, cut out -90mm, Beam angle-15, Material- Aluminuim, Body colour-White (Make-Changi CH Z-8630 28W (LOTIS) or Equivalent, Warrantty-2 year) | 1 | Each
6.3 | 12W recess type Round Led COB light , CCT-3000K, Luminous flux-min 1100, cut out -75mm, Beam angle-90, Material- Aluminuim, Body colour-White (Make-Changi CH 2133 12W (BUZZ) or Equivalent, Warrantty-2 year) |  | 12 | Each | 1765 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.3 | 12W recess type Round Led COB light , CCT-3000K, Luminous flux-min 1100, cut out -75mm, Beam angle-90, Material- Aluminuim, Body colour-White (Make-Changi CH 2133 12W (BUZZ) or Equivalent, Warrantty-2 year) | 12 | Each
6.4 | 2 Line Track Black(BK) 2 Mtr (including all accessories as required) (Make-Changi or Equivalent, Warrantty-2 year) |  | 7 | Each | 1594 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.4 | 2 Line Track Black(BK) 2 Mtr (including all accessories as required) (Make-Changi or Equivalent, Warrantty-2 year) | 7 | Each
6.5 | 30W Led track light light , CCT-3000K, Luminous flux-min-4800, Applicable track 2 line, Beam angle-38, Material- Aluminuim, Body colour-Black (Make-Changi CH T-237 30W (ECHO) or Equivalent, Warrantty-2 year) |  | 8 | Each | 3586 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.5 | 30W Led track light light , CCT-3000K, Luminous flux-min-4800, Applicable track 2 line, Beam angle-38, Material- Aluminuim, Body colour-Black (Make-Changi CH T-237 30W (ECHO) or Equivalent, Warrantty-2 year) | 8 | Each
6.6 | 40W Led track light light , CCT-3000K, Luminous flux-min-6400, Applicable track 2 line, Beam angle-38, Material- Aluminuim, Body colour-Black (Make-Changi CH T-237 40W (ECHO) or Equivalent, Warrantty-2 year) |  | 5 | Each | 4440 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.6 | 40W Led track light light , CCT-3000K, Luminous flux-min-6400, Applicable track 2 line, Beam angle-38, Material- Aluminuim, Body colour-Black (Make-Changi CH T-237 40W (ECHO) or Equivalent, Warrantty-2 year) | 5 | Each
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information