## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work:Electrical works for Balloon Facility in IISER, Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Supply and installation of flame proof industrial light fixture with IP66 protection suitable for twin LED tube (4ft T8- 2X20W) with Al housing fixture mounted on steel structure using suitable size threaded rod and angle iron work for fixing. (Note: recommended for Zone 1 & 2 & Gas / Vapour group of IIA & IIB LED tube should be <10% THD |  | 2 | Each | 23982 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Supply and installation of flame proof industrial light fixture with IP66 protection suitable for twin LED tube (4ft T8- 2X20W) with Al housing fixture mounted on steel structure using suitable size threaded rod and angle iron work for fixing. (Note: recommended for Zone 1 & 2 & Gas / Vapour group of IIA & IIB LED tube should be <10% THD | 2 | Each
2 | Supply and installation of flame proof industrial light fixture with IP66 protection suitable for single LED tube (4ft T8- 1X20W) with Al housing fixture mounted on steel structure with necessary supports for fixing. (Note: recommended for Zone 1 & 2 & Gas / Vapour group of IIA & IIB) LED tube should be <10% THD |  | 2 | Each | 13697 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Supply and installation of flame proof industrial light fixture with IP66 protection suitable for single LED tube (4ft T8- 1X20W) with Al housing fixture mounted on steel structure with necessary supports for fixing. (Note: recommended for Zone 1 & 2 & Gas / Vapour group of IIA & IIB) LED tube should be <10% THD | 2 | Each
3 | Supply, installation testing and commissioning of weather proof Thermoplastic circuit breaker box (IP65) - 2 row 24modules with metric knockouts for cable entry fixed on the existing structural steel work with necessary supoorts as required. Make : Legrand/Henzel |  | 1 | Each | 5312 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supply, installation testing and commissioning of weather proof Thermoplastic circuit breaker box (IP65) - 2 row 24modules with metric knockouts for cable entry fixed on the existing structural steel work with necessary supoorts as required. Make : Legrand/Henzel | 1 | Each
4 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB),having a sensitivity current 100 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | [53 empty] | 4 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB),having a sensitivity current 100 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.
4.1 | 25A |  | 1 | Each | 2924 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.1 | 25A | 1 | Each
5 | Supplying and fixing 5A to 32A rating, 240/415V, 10kA, "C" curve single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make : Legrand/Siemens | [53 empty] | 5 | Supplying and fixing 5A to 32A rating, 240/415V, 10kA, "C" curve single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make : Legrand/Siemens
5.1 | Single pole |  | 4 | Each | 369 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.1 | Single pole | 4 | Each
5.2 | Double pole |  | 2 | Each | 946 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.2 | Double pole | 2 | Each
6 | Supply of following rated XLPE insulated armoured FRLS power cable of 1.1kV grade of following size as required. | [53 empty] | 6 | Supply of following rated XLPE insulated armoured FRLS power cable of 1.1kV grade of following size as required.
6.1 | 2Cx25 Sq.mm Aluminium cable |  | 170 | metre | 149 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.1 | 2Cx25 Sq.mm Aluminium cable | 170 | metre
6.2 | 3Cx1.5 Sq.mm Copper cable |  | 35 | metre | 207 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.2 | 3Cx1.5 Sq.mm Copper cable | 35 | metre
7 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1kV grade of following size in the existing RCC/Hume/Metal/DWC pipe as required. | [53 empty] | 7 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1kV grade of following size in the existing RCC/Hume/Metal/DWC pipe as required.
7.1 | Upto 35sq.mm |  | 60 | metre | 53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.1 | Upto 35sq.mm | 60 | metre
8 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1kV grade of following size on wall surface as required. | [53 empty] | 8 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1kV grade of following size on wall surface as required.
8.1 | Upto 35sq.mm (clamped with 1mm thick saddle) |  | 130 | metre | 79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.1 | Upto 35sq.mm (clamped with 1mm thick saddle) | 130 | metre
9 | Supplying and making end termination with gland and lugs for following size of PVC insulated and PVC sheathed / XLPE aluminum/copper conductor cable of 1.1kV grade as required. | [53 empty] | 9 | Supplying and making end termination with gland and lugs for following size of PVC insulated and PVC sheathed / XLPE aluminum/copper conductor cable of 1.1kV grade as required.
9.1 | 2 X 25 sq. mm (22mm) |  | 2 | Each | 366 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.1 | 2 X 25 sq. mm (22mm) | 2 | Each
9.2 | 3Cx1.5Sq.mm Ar. Cu XLPE FRLS cable (with Flame proof brass compression gland and copper lugs) |  | 4 | Each | 876 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.2 | 3Cx1.5Sq.mm Ar. Cu XLPE FRLS cable (with Flame proof brass compression gland and copper lugs) | 4 | Each
9.3 | 3Cx1.5Sq.mm Ar. Cu XLPE FRLS cable (with brass compression gland and copper lugs) |  | 4 | Each | 592 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.3 | 3Cx1.5Sq.mm Ar. Cu XLPE FRLS cable (with brass compression gland and copper lugs) | 4 | Each
10 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. Direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | [53 empty] | 10 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. Direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
10.1 | 50 mm dia (OD-50 mm & ID-38 mm nominal) |  | 60 | metre | 592 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.1 | 50 mm dia (OD-50 mm & ID-38 mm nominal) | 60 | metre
11 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/coke and salt as required. (For lightning protection and protective earthing.) |  | 3 | Each | 10772 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/coke and salt as required. (For lightning protection and protective earthing.) | 3 | Each
12 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) |  | 10 | metre | 208 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 10 | metre
13 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. |  |  |  | 352 | [49 empty] | 13 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required.
13.1 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For horizontal run) |  | 20 | metre | 182 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.1 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For horizontal run) | 20 | metre
14 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For vertical run) |  | 10 | metre | 284 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For vertical run) | 10 | metre
15 | Providing and fixing testing joint, made of 20 mm X 3 mm thick G.I. strip, 125 mm long, with 4 nos. of G.I. bolts, nuts, chuck nuts and spring washers etc. complete as required. |  | 1 | each | 174 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15 | Providing and fixing testing joint, made of 20 mm X 3 mm thick G.I. strip, 125 mm long, with 4 nos. of G.I. bolts, nuts, chuck nuts and spring washers etc. complete as required. | 1 | each
16 | Providing and laying G.I. tape 32 mm X 6 mm from earth electrode directly in ground as required |  | 15 | metre | 281 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16 | Providing and laying G.I. tape 32 mm X 6 mm from earth electrode directly in ground as required | 15 | metre
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information