## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Electrical works in LHC DoSA cabin and Students sitting rooms at IISER TVM campus, Vithura
Contact No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | [53 empty] | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
1.1 | Group C |  | 10 | Point | 2115 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | Group C | 10 | Point
2 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. | [53 empty] | 2 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required.
2.1 | Group C |  | 18 | Point | 1237 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.1 | Group C | 18 | Point
3 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/UPVC Trunking as required. | [53 empty] | 3 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/UPVC Trunking as required.
3.1 | 3 x 1.5 sq. mm |  | 100 | Metre | 137 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.1 | 3 x 1.5 sq. mm | 100 | Metre
3.2 | 3 x 2.5 sq. mm |  | 195 | Metre | 197 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.2 | 3 x 2.5 sq. mm | 195 | Metre
3.3 | 3 x 4 sq. mm |  | 165 | Metre | 297 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.3 | 3 x 4 sq. mm | 165 | Metre
3.4 | 3 x 6 sq. mm |  | 10 | Metre | 438 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.4 | 3 x 6 sq. mm | 10 | Metre
4 | Supplying and fixing of following sizes of medium class PVC/flexible conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | [53 empty] | 4 | Supplying and fixing of following sizes of medium class PVC/flexible conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
4.1 | 20 mm |  | 100 | Metre | 185 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.1 | 20 mm | 100 | Metre
4.2 | 25 mm |  | 150 | Metre | 209 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.2 | 25 mm | 150 | Metre
4.3 | 32 mm |  | 10 | Metre | 265 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.3 | 32 mm | 10 | Metre
5 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, interconnecting clamps,bends,end caps, joint covers, internal and external corners, dividers, fixing screws as required | [53 empty] | 5 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, interconnecting clamps,bends,end caps, joint covers, internal and external corners, dividers, fixing screws as required
5.1 | 25mm x 12mm |  | 20 | Metre | 82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.1 | 25mm x 12mm | 20 | Metre
6 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. (White colour for normal power supply and Black colour for UPS power supply) |  | 62 | Each | 688 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. (White colour for normal power supply and Black colour for UPS power supply) | 62 | Each
7 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. |  | 9 | Each | 845 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 9 | Each
8 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. |  | 2 | Each | 125 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | 2 | Each
9 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current operated circuit breaker (RCBO), having a sensitivity current 300 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | [53 empty] | 9 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current operated circuit breaker (RCBO), having a sensitivity current 300 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.
9.1 | 63 A |  | 1 | Each | 5171 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.1 | 63 A | 1 | Each
10 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current operated circuit breaker (RCBO), having a sensitivity current 100 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | [53 empty] | 10 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current operated circuit breaker (RCBO), having a sensitivity current 100 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.
10.1 | 32 A |  | 1 | Each | 3540 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.1 | 32 A | 1 | Each
11 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | [53 empty] | 11 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
11.1 | Single pole |  | 9 | Each | 369 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.1 | Single pole | 9 | Each
12 | Installation & fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | [53 empty] | 12 | Installation & fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
12.1 | 12 way , Double door |  | 10 | Each | 608 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.1 | 12 way , Double door | 10 | Each
13 | Supply, Installation ,Testing, Commissioning of Light fittings/Wall fan/Exhaust fan e.tc. complete with all accessories (connectors etc) including connections etc. as required and all related works as directed by EIC. | [53 empty] | 13 | Supply, Installation ,Testing, Commissioning of Light fittings/Wall fan/Exhaust fan e.tc. complete with all accessories (connectors etc) including connections etc. as required and all related works as directed by EIC.
13.1 | 2 feet x 2 feet recess type led light fittings up to 40 W Square , CCT-6500K, Luminous flux-min-4000 lumens burning hours-50,000 hrs (Make-Philips/Wipro/Crompton or Equivalent, Warranty-2 year) |  | 16 | Each | 2016 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.1 | 2 feet x 2 feet recess type led light fittings up to 40 W Square , CCT-6500K, Luminous flux-min-4000 lumens burning hours-50,000 hrs (Make-Philips/Wipro/Crompton or Equivalent, Warranty-2 year) | 16 | Each
13.2 | Recess type led light fittings up to 12 W round , CCT-6500K, Luminous flux-min-1200 lumens burning hours-50,000 hrs (Make-Philips/Wipro/Crompton or Equivalent, Warranty-2 year) |  | 20 | Each | 691 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.2 | Recess type led light fittings up to 12 W round , CCT-6500K, Luminous flux-min-1200 lumens burning hours-50,000 hrs (Make-Philips/Wipro/Crompton or Equivalent, Warranty-2 year) | 20 | Each
13.3 | Surface type led light fittings up to 12 W round , CCT-6500K, Luminous flux-min-1200 lumens burning hours-50,000 hrs (Make-Philips/Wipro/Crompton or Equivalent, Warranty-2 year) |  | 8 | Each | 533 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.3 | Surface type led light fittings up to 12 W round , CCT-6500K, Luminous flux-min-1200 lumens burning hours-50,000 hrs (Make-Philips/Wipro/Crompton or Equivalent, Warranty-2 year) | 8 | Each
13.4 | 400mm Sweep BLDC wall fan white Atomberg Renesa or Equivalent, Warranty-2 year) |  | 14 | Each | 4390 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.4 | 400mm Sweep BLDC wall fan white Atomberg Renesa or Equivalent, Warranty-2 year) | 14 | Each
13.5 | 250mm Sweep BLDC Exhaust fan Atomberg square type or Equivalent, Warranty-2 year) |  | 2 | Each | 3623 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.5 | 250mm Sweep BLDC Exhaust fan Atomberg square type or Equivalent, Warranty-2 year) | 2 | Each
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information