## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work:Supply and Installation of LED Flood lights in the Kabaddi court in IISER, Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Supply and installtion of high performance LED flood light luminaire of max 250W, 5700K,min 30000lumen with lumen efficiency of 120 lm/W with pressure die cast housing, toughned glass and individual LEDs with seconary lens optics along with IP66 protection, 10kV internal surge protection on steel structure frame of height 6 meter using necessary supports and scaffolding as required. LED fixture make: Philips/Crompton/Bajaj/Havells/Klite |  | 8 | Each | 19498 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Supply and installtion of high performance LED flood light luminaire of max 250W, 5700K,min 30000lumen with lumen efficiency of 120 lm/W with pressure die cast housing, toughned glass and individual LEDs with seconary lens optics along with IP66 protection, 10kV internal surge protection on steel structure frame of height 6 meter using necessary supports and scaffolding as required. LED fixture make: Philips/Crompton/Bajaj/Havells/Klite | 8 | Each
2 | Installtion of LED flood light luminaire on existng pole structure frame at a height of 9mtr using necessary supports and scaffolding as required. (The LED flood light fixtures will be issued from department) |  | 8 | Each | 283 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Installtion of LED flood light luminaire on existng pole structure frame at a height of 9mtr using necessary supports and scaffolding as required. (The LED flood light fixtures will be issued from department) | 8 | Each
3 | Supply, installation testing and commissioning of weather proof Thermoplastic circuit breaker box - 1 row 8modules of IP 65 protection, IK09 with clear acrylic front door, metric knockouts for cable entry on the existing steel work.Make : Legrand/Henzel |  | 2 | Each | 2580 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supply, installation testing and commissioning of weather proof Thermoplastic circuit breaker box - 1 row 8modules of IP 65 protection, IK09 with clear acrylic front door, metric knockouts for cable entry on the existing steel work.Make : Legrand/Henzel | 2 | Each
4 | Supplying and fixing following rating residual current circuit breaker (RCCB) in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make: Legrand/L&T/Schneider/hager/Havells | [53 empty] | 4 | Supplying and fixing following rating residual current circuit breaker (RCCB) in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make: Legrand/L&T/Schneider/hager/Havells
4.1 | 25A, 30mA,4pole, 415V |  | 2 | Each | 3728 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.1 | 25A, 30mA,4pole, 415V | 2 | Each
5 | Supplying and fixing 5A to 32A rating, 240/415V, 10kA, "C" curve single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make: Legrand/L&T/Schneider/hager/Havells | [53 empty] | 5 | Supplying and fixing 5A to 32A rating, 240/415V, 10kA, "C" curve single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make: Legrand/L&T/Schneider/hager/Havells
5.1 | Single pole |  | 8 | Each | 369 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.1 | Single pole | 8 | Each
6 | Supply of following XLPE insulated FRLS power cable of 1.1kV grade of following size as required. Make: RR kabel/Gloster/Polycab/Unistar | [53 empty] | 6 | Supply of following XLPE insulated FRLS power cable of 1.1kV grade of following size as required. Make: RR kabel/Gloster/Polycab/Unistar
6.1 | 3Cx1.5 Sq.mm Ar. Copper XLPE FRLS cable |  | 165 | metre | 207 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.1 | 3Cx1.5 Sq.mm Ar. Copper XLPE FRLS cable | 165 | metre
7 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required. (note: Mounting of the tray horizontally has to be at a height of 6 mtr) | [53 empty] | 7 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required. (note: Mounting of the tray horizontally has to be at a height of 6 mtr)
7.1 | 150 mm width X 50 mm depth X 1.6 mm thickness |  | 54 | metre | 1032 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.1 | 150 mm width X 50 mm depth X 1.6 mm thickness | 54 | metre
8 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray "bends" (galvanisation not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required | [53 empty] | 8 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray "bends" (galvanisation not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required
8.1 | 150 mm width X 50 mm depth X 1.6 mm thickness |  | 2 | each | 1831 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.1 | 150 mm width X 50 mm depth X 1.6 mm thickness | 2 | each
9 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required | [53 empty] | 9 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required
9.1 | Upto 35sq.mm (clamped with 1mm thick saddle) |  | 165 | metre | 65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.1 | Upto 35sq.mm (clamped with 1mm thick saddle) | 165 | metre
10 | Supplying and making end termination with gland and lugs for following size of PVC insulated and PVC sheathed / XLPE aluminum conductor cable of 1.1kV grade as required. Make : Dowells/Jainson | [53 empty] | 10 | Supplying and making end termination with gland and lugs for following size of PVC insulated and PVC sheathed / XLPE aluminum conductor cable of 1.1kV grade as required. Make : Dowells/Jainson
10.1 | 3Cx1.5Sq.mm Ar. Cu XLPE FRLS cable (with brass compression gland and copper lugs) |  | 16 | Each | 576 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.1 | 3Cx1.5Sq.mm Ar. Cu XLPE FRLS cable (with brass compression gland and copper lugs) | 16 | Each
11 | Dismantling of LED high bay luminaries(1no.) from sheet roof of height 15 metre and re-installating the new/repaired light fixtures on the same location using necessary scaffolding as required. (Repair of the dismantled light fixure will be under the scope of IISER.) |  | 4 | Each | 730 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11 | Dismantling of LED high bay luminaries(1no.) from sheet roof of height 15 metre and re-installating the new/repaired light fixtures on the same location using necessary scaffolding as required. (Repair of the dismantled light fixure will be under the scope of IISER.) | 4 | Each
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information