## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer, IISER Thiruvananthapuram
Name of Work:Replacement of faulty street light cables and providng LED street light fixtures near Anamudi hostel block and Indoor stadium in IISER, Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Supply, installation, testing and commissioning of pre-wired LED street light with following specificiation, the fixture should be epoxy powder coated pressure diecast aluminium housing with clear diffuser,polycarbonate modular secondary lens optics, THD<10%, PF>=0.95, 5700K pure white, min 4KV surge protection, IP66 protection, conforms to IS 10322 Part 5 complete, including necessary interconnections and earthing as required. (Approved makes: Bajaj /Havells/Philips/Crompton) | [53 empty] | 1 | Supply, installation, testing and commissioning of pre-wired LED street light with following specificiation, the fixture should be epoxy powder coated pressure diecast aluminium housing with clear diffuser,polycarbonate modular secondary lens optics, THD<10%, PF>=0.95, 5700K pure white, min 4KV surge protection, IP66 protection, conforms to IS 10322 Part 5 complete, including necessary interconnections and earthing as required. (Approved makes: Bajaj /Havells/Philips/Crompton)
1.1 | lumen level not less than 14400lumens and not more than 120W power. |  | 3 | Each | 10334 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | lumen level not less than 14400lumens and not more than 120W power. | 3 | Each
1.2 | lumen level not less than 5400lumens and not more than 45W power |  | 1 | Each | 4249 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.2 | lumen level not less than 5400lumens and not more than 45W power | 1 | Each
2 | Supply and installation of follwing height hot dip galvanised octagonal poles with 130 mm bottom A/F & 70 mm top A/F made up of 3mm thick HR steel sheet along with base plate of size 200X200X12mm thick along with GI singel arm street light mounting bracket, fully galvanised J type foundation bolts on reinforced cement concrete as per the drawing recommended by the pole manufacturer including excavation, refilling, finishing etc. and with 6A DP MCB , 3core x 1.5sqmm flexible PVC copper cable for interconnecting light fixture to the MCB, GI sheet for connecting cable gland, earthing etc as required. Approved make: Bajaj/Crompton/RR ISPAT/Transrail | [53 empty] | 2 | Supply and installation of follwing height hot dip galvanised octagonal poles with 130 mm bottom A/F & 70 mm top A/F made up of 3mm thick HR steel sheet along with base plate of size 200X200X12mm thick along with GI singel arm street light mounting bracket, fully galvanised J type foundation bolts on reinforced cement concrete as per the drawing recommended by the pole manufacturer including excavation, refilling, finishing etc. and with 6A DP MCB , 3core x 1.5sqmm flexible PVC copper cable for interconnecting light fixture to the MCB, GI sheet for connecting cable gland, earthing etc as required. Approved make: Bajaj/Crompton/RR ISPAT/Transrail
2.1 | 8 meter |  | 3 | Each | 17115.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.1 | 8 meter | 3 | Each
2.2 | 4 meter |  | 1 | Each | 13529.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.2 | 4 meter | 1 | Each
3 | Supply of FRLS XLPE power cable of 1.1 kV grade of following size as required. Approved make: Gloster/RR Kabel/Havells/Polycab/ Universal | [53 empty] | 3 | Supply of FRLS XLPE power cable of 1.1 kV grade of following size as required. Approved make: Gloster/RR Kabel/Havells/Polycab/ Universal
3.1 | 3C x 2.5 sqmm Copper armoured cable (A2XFY) |  | 100 | Metre | 145 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.1 | 3C x 2.5 sqmm Copper armoured cable (A2XFY) | 100 | Metre
3.2 | 2C x 16 sqmm Aluminium armoured cable (A2XFY) |  | 205 | Metre | 121 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.2 | 2C x 16 sqmm Aluminium armoured cable (A2XFY) | 205 | Metre
4 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. Direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | [53 empty] | 4 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. Direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
4.1 | 50 mm dia (OD-50 mm & ID-38 mm nominal) |  | 130 | Metre | 143 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.1 | 50 mm dia (OD-50 mm & ID-38 mm nominal) | 130 | Metre
5 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC HUME/ METAL/DWC HDPE pipe as required. | [53 empty] | 5 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC HUME/ METAL/DWC HDPE pipe as required.
5.1 | Upto 35 sq. mm |  | 130 | Metre | 53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.1 | Upto 35 sq. mm | 130 | Metre
6 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size fixing on wall surface as required. | [53 empty] | 6 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size fixing on wall surface as required.
6.1 | Upto 35 sq. mm |  | 175 | Metre | 79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.1 | Upto 35 sq. mm | 175 | Metre
7 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct on ground incuding excavation and refilling the trench as required, but excluding sand cushioing and protective covering. | [53 empty] | 7 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct on ground incuding excavation and refilling the trench as required, but excluding sand cushioing and protective covering.
7.1 | Above 185sqmm upto 400sqmm |  | 230 | Metre | 414 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.1 | Above 185sqmm upto 400sqmm | 230 | Metre
8 | Supplying and making end termination with brass compression gland for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1kV grade as required. Approved make: Dowells/jainson/Comet | [53 empty] | 8 | Supplying and making end termination with brass compression gland for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1kV grade as required. Approved make: Dowells/jainson/Comet
8.1 | 3core X 2.5 sq. mm |  | 20 | Each | 347 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.1 | 3core X 2.5 sq. mm | 20 | Each
8.2 | 2C x 16 sqmm(22mm) |  | 14 | Each | 369 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.2 | 2C x 16 sqmm(22mm) | 14 | Each
9 | Supply and installation of weather proof terminal boxes of size 100mm x 100mmx 70mm with IP 66 protection, IK09 with cable connecting terminals, metric knockouts for cable entry and fixing the box on the wall surface complete as required. Make : Syntex/Henzel |  | 10 | Each | 850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9 | Supply and installation of weather proof terminal boxes of size 100mm x 100mmx 70mm with IP 66 protection, IK09 with cable connecting terminals, metric knockouts for cable entry and fixing the box on the wall surface complete as required. Make : Syntex/Henzel | 10 | Each
10 | Dismantling and re-Installation of solar street light fixture consists of solar PV panel, battery, ABS enclosures, necessary wires along with 5mtr height pole on RCC pole foundation including earth excavation, suitable j bolt,earthing etc complete as required and as directed by Engineer in charge. Note: The pole foundation above the FFL should be nealty cement plastered with fine sand. |  | 4 | Each | 4022 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10 | Dismantling and re-Installation of solar street light fixture consists of solar PV panel, battery, ABS enclosures, necessary wires along with 5mtr height pole on RCC pole foundation including earth excavation, suitable j bolt,earthing etc complete as required and as directed by Engineer in charge. Note: The pole foundation above the FFL should be nealty cement plastered with fine sand. | 4 | Each
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information