## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer, IISER Thiruvananthapuram
Name of Work: Electrical works in CIF B21 Smart lab at IISER, Thiruvananthapuram
Contact No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | [53 empty] | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
1.1 | Group C |  | 13 | Point | 2115 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | Group C | 13 | Point
2 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. | [53 empty] | 2 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required.
2.1 | Group C |  | 4 | Point | 1237 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.1 | Group C | 4 | Point
3 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/UPVC Trunking as required. | [53 empty] | 3 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/UPVC Trunking as required.
3.1 | 3 x 1.5 sq. mm |  | 105 | Metre | 137 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.1 | 3 x 1.5 sq. mm | 105 | Metre
3.2 | 3 x 2.5 sq. mm |  | 92 | Metre | 197 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.2 | 3 x 2.5 sq. mm | 92 | Metre
3.3 | 3 x 4 sq. mm |  | 402 | Metre | 297 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.3 | 3 x 4 sq. mm | 402 | Metre
4 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. | [53 empty] | 4 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
4.1 | 4 X 16 sq. mm + 2 X 6 sq. mm earth wire |  | 30 | Metre | 1968 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.1 | 4 X 16 sq. mm + 2 X 6 sq. mm earth wire | 30 | Metre
5 | Supplying and fixing of following sizes of medium class PVC/flexible conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | [53 empty] | 5 | Supplying and fixing of following sizes of medium class PVC/flexible conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
5.1 | 20 mm |  | 75 | Metre | 185 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.1 | 20 mm | 75 | Metre
5.2 | 25 mm |  | 100 | Metre | 209 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.2 | 25 mm | 100 | Metre
5.3 | 32 mm |  | 25 | Metre | 265 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.3 | 32 mm | 25 | Metre
6 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, interconnecting clamps,bends,end caps, joint covers, internal and external corners, dividers, fixing screws as required. (Make- CMS-MK prestige 3D ) | [53 empty] | 6 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, interconnecting clamps,bends,end caps, joint covers, internal and external corners, dividers, fixing screws as required. (Make- CMS-MK prestige 3D )
6.1 | 25mm x 12mm |  | 10 | Metre | 82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.1 | 25mm x 12mm | 10 | Metre
6.2 | 170mm x 57mm 3 compartment |  | 45 | Metre | 1915 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.2 | 170mm x 57mm 3 compartment | 45 | Metre
7 | Supplying and fixing suitable size GI/CMS box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. (White colour for normal power supply and Black colour for UPS power supply) (Make- Switch/Socket-MK Blendz) |  | 71 | Each | 688 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7 | Supplying and fixing suitable size GI/CMS box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. (White colour for normal power supply and Black colour for UPS power supply) (Make- Switch/Socket-MK Blendz) | 71 | Each
8 | Supplying and fixing suitable size GI/CMS box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. (White colour for normal power supply and Black colour for UPS power supply) (Make- Switch/Socket-MK Blendz) |  | 35 | Each | 845 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8 | Supplying and fixing suitable size GI/CMS box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. (White colour for normal power supply and Black colour for UPS power supply) (Make- Switch/Socket-MK Blendz) | 35 | Each
9 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current operated circuit breaker (RCBO), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. (Make- Legrand DX3) | [53 empty] | 9 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current operated circuit breaker (RCBO), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. (Make- Legrand DX3)
9.1 | 40 A |  | 1 | Each | 4596 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.1 | 40 A | 1 | Each
10 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board/VDB including drilling holes in cubicle panel/VDB, making connections, etc. as required. (Make- for DB Legrand and for panel L&T) | [53 empty] | 10 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board/VDB including drilling holes in cubicle panel/VDB, making connections, etc. as required. (Make- for DB Legrand and for panel L&T)
10.1 | 100 A,36KA,FP MCCB |  | 1 | Each | 11133 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.1 | 100 A,36KA,FP MCCB | 1 | Each
10.2 | 100 A,25KA,FPMCCB with ELM (Set from 30mA to 300mA) |  | 1 | Each | 7828 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.2 | 100 A,25KA,FPMCCB with ELM (Set from 30mA to 300mA) | 1 | Each
10.3 | 40 A,25KA,FPMCCB with ELM (Set from 30mA to 300mA) |  | 1 | Each | 7745 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.3 | 40 A,25KA,FPMCCB with ELM (Set from 30mA to 300mA) | 1 | Each
11 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (Make- Legrand DX3) | [53 empty] | 11 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (Make- Legrand DX3)
11.1 | Single pole |  | 36 | Each | 369 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.1 | Single pole | 36 | Each
11.2 | Triple pole |  | 11 | Each | 1452 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.2 | Triple pole | 11 | Each
12 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 16/25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. |  | 2 | Each | 1685 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 16/25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | 2 | Each
13 | Fixing/Installation and testing of following ways surface/ recess mounting, vertical type, 415 V, FP/TPN MCB/MCCB/RCBO distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | [53 empty] | 13 | Fixing/Installation and testing of following ways surface/ recess mounting, vertical type, 415 V, FP/TPN MCB/MCCB/RCBO distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)
13.1 | Up to 12 way , Double door |  | 3 | Each | 719 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.1 | Up to 12 way , Double door | 3 | Each
14 | Supply, Installation ,Testing, Commissioning of Light fittings/Wall fan/Ceiling fan e.tc. complete with all accessories (connectors etc) including connections etc. as required and all related works as directed by EIC. | [53 empty] | 14 | Supply, Installation ,Testing, Commissioning of Light fittings/Wall fan/Ceiling fan e.tc. complete with all accessories (connectors etc) including connections etc. as required and all related works as directed by EIC.
14.1 | 2 feet x 2 feet recess type led light fittings up to 40 W Square , CCT-6500K, Luminous flux-min-4000 lumens burning hours-50,000 hrs (Make-Philips/Wipro/Crompton or Equivalent, Warranty-2 year) |  | 39 | Each | 2016 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.1 | 2 feet x 2 feet recess type led light fittings up to 40 W Square , CCT-6500K, Luminous flux-min-4000 lumens burning hours-50,000 hrs (Make-Philips/Wipro/Crompton or Equivalent, Warranty-2 year) | 39 | Each
14.2 | 400mm Sweep BLDC wall fan white Atomberg Renesa or Equivalent, Warranty-2 year) |  | 13 | Each | 4389 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.2 | 400mm Sweep BLDC wall fan white Atomberg Renesa or Equivalent, Warranty-2 year) | 13 | Each
14.3 | 1200mm Sweep BLDC Celing fan white with Five star rating with fan rod of suitable size as required and all related works as directed by EIC. Usha/Crompton/Atomberg or Equivalent, Warranty-2 year) |  | 10 | Each | 3755 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14.3 | 1200mm Sweep BLDC Celing fan white with Five star rating with fan rod of suitable size as required and all related works as directed by EIC. Usha/Crompton/Atomberg or Equivalent, Warranty-2 year) | 10 | Each
15 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface/Cable tray as required. | [53 empty] | 15 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface/Cable tray as required.
15.1 | Upto 35 sq. mm (clamped with 1mm thick saddle) |  | 20 | Metre | 79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15.1 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 20 | Metre
16 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade including gland earthing as required. | [53 empty] | 16 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade including gland earthing as required.
16.1 | 4 X 25 sq. mm (28mm) |  | 2 | Each | 454 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.1 | 4 X 25 sq. mm (28mm) | 2 | Each
17 | Providing and fixing 4.00 mm dia copper wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. |  | 60 | Metre | 183 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17 | Providing and fixing 4.00 mm dia copper wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 60 | Metre
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information