## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Preventive Maintenance of Medium Voltage(MV) panels installed in IISER, Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Service of the following rated MV panels for preventive maintenance work which includes cleaning, checking of all terminations, fuses,netrual links, Switches/MCB/ MCCB,Busbar, control wiring interconnections, checking of metering units, tightening of all terminations using proper torque wrench and replace any damaged MCB/MCCB/ Fuse unit, Neutral links,bus bar sleeves, eye/pin type copper lug/Al. lug for incoming and outgoing terminals stenciling, complete as required and as directed by the Engr in charge. Note: 1. All the materials except switch gears, neutral links and fuses(faulty) will be under the contractor's scope. 2. The contractor shall inform the faulty parts to the Engineer in charge before the maintenance work. | [53 empty] | 1 | Service of the following rated MV panels for preventive maintenance work which includes cleaning, checking of all terminations, fuses,netrual links, Switches/MCB/ MCCB,Busbar, control wiring interconnections, checking of metering units, tightening of all terminations using proper torque wrench and replace any damaged MCB/MCCB/ Fuse unit, Neutral links,bus bar sleeves, eye/pin type copper lug/Al. lug for incoming and outgoing terminals stenciling, complete as required and as directed by the Engr in charge. Note: 1. All the materials except switch gears, neutral links and fuses(faulty) will be under the contractor's scope. 2. The contractor shall inform the faulty parts to the Engineer in charge before the maintenance work.
1.1 | up to 100 A rating |  | 42 | Each | 529.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | up to 100 A rating | 42 | Each
1.2 | 125 A to 400A rating. |  | 126 | Each | 803.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.2 | 125 A to 400A rating. | 126 | Each
1.3 | 630 A to 1000A rating with single incomer |  | 13 | Each | 1076.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.3 | 630 A to 1000A rating with single incomer | 13 | Each
1.4 | 630 A to 1000A rating with double incomer and one bus coupler |  | 10 | Each | 1606.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.4 | 630 A to 1000A rating with double incomer and one bus coupler | 10 | Each
2 | Fixing of following devices in the existing MV panel with necessary interconnections and wirings as required. (Devices will be issued from department) | [53 empty] | 2 | Fixing of following devices in the existing MV panel with necessary interconnections and wirings as required. (Devices will be issued from department)
2.1 | Surge protection device,Multifucntion meter, Digital voltmeter, Digital ammeter |  | 177 | Each | 256.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.1 | Surge protection device,Multifucntion meter, Digital voltmeter, Digital ammeter | 177 | Each
3 | Supply and installation of din rail mounted Earth leakage relay of leakage current range of 30mA-30A sensitivity with CBCT and shunt coil suitable for the existing MCCB in the existing street light feeder pillar complete as required (ELR make: L&T GIC/ Schnieder/Siemens/ABB CBCT make: L&T, Kappa electricals,AE elctricals) |  | 14 | Each | 5802.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supply and installation of din rail mounted Earth leakage relay of leakage current range of 30mA-30A sensitivity with CBCT and shunt coil suitable for the existing MCCB in the existing street light feeder pillar complete as required (ELR make: L&T GIC/ Schnieder/Siemens/ABB CBCT make: L&T, Kappa electricals,AE elctricals) | 14 | Each
Total in Figures | [11 empty] | 1 | [39 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information