## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer(Civil), IISER Thiruvananthapuram
Name of Work: Electrical Works for Waiting Area near CSB Seminar hall in IISER TVM campus, Vithura
Contact No: 04712778039
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Basic Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Internal wiring |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 1 | Internal wiring
1.1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. |  |  |  | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 1.1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
1.1.1 | Group B |  | 14 | Point | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.1.1 | Group B | 14 | Point
1.2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 1.2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
1.2.1 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire |  | 50 | Metre | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.2.1 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 50 | Metre
1.2.2 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire |  | 30 | Metre | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.2.2 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 30 | Metre
1.2.3 | 3 X 6 sq. mm + 1 X 6 sq. mm earth wire |  | 25 | Metre | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.2.3 | 3 X 6 sq. mm + 1 X 6 sq. mm earth wire | 25 | Metre
1.3 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. |  | 6 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.3 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 6 | Each
1.4 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. |  | 2 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.4 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 2 | Each
1.5 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required |  | 14 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.5 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required | 14 | Each
1.6 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. |  | 3 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.6 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 3 | Each
2 | Light, Fan fixture and its accessories |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Light, Fan fixture and its accessories
2.1 | Supply of the following LED light fixtures complete with lamps, suitable drivers, all accesories as required and fan fixtures duly wired complete for use on 240 V single phase 50 Hz AC supply including all accessories required for mounting at surface/recess/wall as mentioned. |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2.1 | Supply of the following LED light fixtures complete with lamps, suitable drivers, all accesories as required and fan fixtures duly wired complete for use on 240 V single phase 50 Hz AC supply including all accessories required for mounting at surface/recess/wall as mentioned.
2.1.1 | 40w LED Battern Tubelight 6500K THD<10%, Lumens Minimum 4000Lumens (Make: Philips/wipro/osram or equivalent) |  | 10 | Each | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.1.1 | 40w LED Battern Tubelight 6500K THD<10%, Lumens Minimum 4000Lumens (Make: Philips/wipro/osram or equivalent) | 10 | Each
2.2 | Installation ,Testing, Commissioning of LED type ceiling/Surface fittings complete with all accessories including connections etc. as required. |  | 10 | Each | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.2 | Installation ,Testing, Commissioning of LED type ceiling/Surface fittings complete with all accessories including connections etc. as required. | 10 | Each
2.3 | Supply of 230 V single phase, 1200 mm sweep ceiling fans, Min-350 RPM, complete with fan hooks, down rod and other fixing accessories as required.(Make :Crompton Greaves HS/Usha/ or equivalent) |  | 4 | Each | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.3 | Supply of 230 V single phase, 1200 mm sweep ceiling fans, Min-350 RPM, complete with fan hooks, down rod and other fixing accessories as required.(Make :Crompton Greaves HS/Usha/ or equivalent) | 4 | Each
2.4 | Installation, testing and commissioning of ceiling fan, including supply and fixing Fan clamp, wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. |  | 4 | Each | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.4 | Installation, testing and commissioning of ceiling fan, including supply and fixing Fan clamp, wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 4 | Each
2.5 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required |  | 4 | Each | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.5 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required | 4 | Each
3 | Sub Distribution Board and accessories |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 3 | Sub Distribution Board and accessories
3.1 | Fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 3.1 | Fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
3.1.1 | UP to 12 way , Double door |  | 1 | Each | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.1.1 | UP to 12 way , Double door | 1 | Each
3.2 | Fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 3.2 | Fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
3.2.1 | Single Pole |  | 8 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.2.1 | Single Pole | 8 | Each
3.3 | Fixing, testing and commissioning of following rating RCBO as required in existing distribution board including drilling holes in the distribution board, making connections etc as required at incomer. |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 3.3 | Fixing, testing and commissioning of following rating RCBO as required in existing distribution board including drilling holes in the distribution board, making connections etc as required at incomer.
3.3.1 | Upto 63A DP RCBO |  | 1 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.3.1 | Upto 63A DP RCBO | 1 | Each
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information