## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer(Civil), IISER Thiruvananthapuram
Name of Work: Providing, installation, testing and commissioning of biogas plant at Residential area of IISER Campus,Thiruvananthapuram including operation and maintenance of the plant for a period of 12 months
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Providing, installation, testing and commissioning of FRP Model portable biogas plant with capacity to treat 40 Kg biowaste per day including pipe connections with valves, lantern, inlet chamber, outlet chamber, bio waste treatment digestor, gas collection system, initial cow dung feeding & bacterial culture, etc. Rate quoted shall be inclusive of all earth work, filling, lead, lift, taxes including GST, oveheads, octroi charges, loading & unloading charges and all other expenses towards the job and no extra claim shall be paid. Technical details: a) Design : FRP Model with water jacket system, HD [FRP 450 mat 2 layers with top, central & bottom shall have additional lap strips 1-2 layers as per structural requirement) b) Size of plant : 8 Cum c) Type: Vertical d) Technology: Anaerobic digestion e) Capacity of treatment per day : 40 Kg organic waste and liquified waste f) Methane output: 5-7 hours g) Slurry: Organic manure Note: The scope includes one year warranty and one year free service from the date of completion of AMC. |  | 1 | Each | 222500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1 | Providing, installation, testing and commissioning of FRP Model portable biogas plant with capacity to treat 40 Kg biowaste per day including pipe connections with valves, lantern, inlet chamber, outlet chamber, bio waste treatment digestor, gas collection system, initial cow dung feeding & bacterial culture, etc. Rate quoted shall be inclusive of all earth work, filling, lead, lift, taxes including GST, oveheads, octroi charges, loading & unloading charges and all other expenses towards the job and no extra claim shall be paid. Technical details: a) Design : FRP Model with water jacket system, HD [FRP 450 mat 2 layers with top, central & bottom shall have additional lap strips 1-2 layers as per structural requirement) b) Size of plant : 8 Cum c) Type: Vertical d) Technology: Anaerobic digestion e) Capacity of treatment per day : 40 Kg organic waste and liquified waste f) Methane output: 5-7 hours g) Slurry: Organic manure Note: The scope includes one year warranty and one year free service from the date of completion of AMC. | 1 | Each
2 | Providing, installation, testing and commissioning of stainless steel food waste/garbage crusher machine including starter with all protection suitable for the crusher unit as per manufacturer requirement, one shelter each for every crusher unit for operation of crusher unit. Rate quoted shall be inclusive of all earth work, filling, lead, lift, taxes including GST, oveheads, octroi charges, loading & unloading charges and all other expenses towards the job and no extra claim shall be paid. The rate shall include fixing the machine and providing suitable power sockets, wiring and all other accessories required. Only power supply be made available at site. |  | 1 | Each | 80000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Providing, installation, testing and commissioning of stainless steel food waste/garbage crusher machine including starter with all protection suitable for the crusher unit as per manufacturer requirement, one shelter each for every crusher unit for operation of crusher unit. Rate quoted shall be inclusive of all earth work, filling, lead, lift, taxes including GST, oveheads, octroi charges, loading & unloading charges and all other expenses towards the job and no extra claim shall be paid. The rate shall include fixing the machine and providing suitable power sockets, wiring and all other accessories required. Only power supply be made available at site. | 1 | Each
2.1 | Technical details of crusher unit: a) Material : SS b) Motor : 1 Hp (3 phase/440v) c) Sink Size: 49x49x26 (LxWxH) CM d) Throat : 12.5 CM e) Outlet : 2" BSP f) weight : 20 Kg g) Quantity crushed per hour : 20 Kg h) Use: Crushing food waste from house, hotel, restuarant, hostel, etc for feeding the same in biogas plant. Note: The scope includes one year warranty and one year free service from the date of completion of AMC. | [53 empty] | 2.1 | Technical details of crusher unit: a) Material : SS b) Motor : 1 Hp (3 phase/440v) c) Sink Size: 49x49x26 (LxWxH) CM d) Throat : 12.5 CM e) Outlet : 2" BSP f) weight : 20 Kg g) Quantity crushed per hour : 20 Kg h) Use: Crushing food waste from house, hotel, restuarant, hostel, etc for feeding the same in biogas plant. Note: The scope includes one year warranty and one year free service from the date of completion of AMC.
2.2 | Technical details of shelter for crusher unit: a) Platform: 2.0x2.0 size in PCC 1:3:6 10mm hick b) Columns of shelter: 4 nos of squar hollow section 50x50x3.6mm height above platform 2.2m front 2 columns 2.5m rear 2 columns embedding all the columns in PCC 1:3:6 foundation 0.4x0.4x0.5m size. All columns shall have 4 nos of legs in 10mm dia bars 30cm length. c) Connecting rafters/beams: All columns shall be connected togother horizontally by beams of sections 50x50x3.6mm (i.e, no of connecting beams - 2 nos of length 2.6m each and no of rafter- 3 nos of length 2.6m each) d) Purlins: 4 nos of purlins in rectangular hollow section 50x25x2.6mm of length 2.6m each e) Roofing : roofing area - 3.0x3.0 m area in precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal. | [53 empty] | 2.2 | Technical details of shelter for crusher unit: a) Platform: 2.0x2.0 size in PCC 1:3:6 10mm hick b) Columns of shelter: 4 nos of squar hollow section 50x50x3.6mm height above platform 2.2m front 2 columns 2.5m rear 2 columns embedding all the columns in PCC 1:3:6 foundation 0.4x0.4x0.5m size. All columns shall have 4 nos of legs in 10mm dia bars 30cm length. c) Connecting rafters/beams: All columns shall be connected togother horizontally by beams of sections 50x50x3.6mm (i.e, no of connecting beams - 2 nos of length 2.6m each and no of rafter- 3 nos of length 2.6m each) d) Purlins: 4 nos of purlins in rectangular hollow section 50x25x2.6mm of length 2.6m each e) Roofing : roofing area - 3.0x3.0 m area in precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal.
3 | Day to day operation and maintenance of one biogas plant unit of 40Kg capacity and its crusher unit for a period of 12 months which includes collection, sorting and segregation of biowaste from the buildings, grinding of feed, watering, proper loading of biowaste in the biogas plant, collection, recyling and disposal of slurry to a lead of 150 meters within the campus, all other jobs required for the proper functioning of biogas plant, etc including daily checking of functioning of the plant and its accessories and service lines, etc complete all as per manufactorer specifications and as directed by EIC. |  | 1 | Each | 30000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Day to day operation and maintenance of one biogas plant unit of 40Kg capacity and its crusher unit for a period of 12 months which includes collection, sorting and segregation of biowaste from the buildings, grinding of feed, watering, proper loading of biowaste in the biogas plant, collection, recyling and disposal of slurry to a lead of 150 meters within the campus, all other jobs required for the proper functioning of biogas plant, etc including daily checking of functioning of the plant and its accessories and service lines, etc complete all as per manufactorer specifications and as directed by EIC. | 1 | Each
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information