## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer(Civil), IISER Thiruvananthapuram
Name of Work: Electrical Works for Recharge lounge near CDH1 in IISER TVM campus, Vithura
Contact No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Basic Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Internal wiring |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 1 | Internal wiring
1.1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. |  |  |  | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 1.1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
1.1.1 | Group A |  | 24 | Point | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.1.1 | Group A | 24 | Point
1.2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 1.2 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
1.2.1 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire |  | 40 | Metre | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.2.1 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 40 | Metre
1.2.2 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire |  | 15 | Metre | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.2.2 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 15 | Metre
1.2.3 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire |  | 25 | Metre | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.2.3 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | 25 | Metre
1.3 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. |  | 6 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.3 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 6 | Each
1.4 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. |  | 1 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.4 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 1 | Each
1.5 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required |  | 19 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.5 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required | 19 | Each
1.6 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. |  |  |  | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 1.6 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
1.6.1 | 32 mm |  | 100 | Metre | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.6.1 | 32 mm | 100 | Metre
1.7 | Supplying and fixing brass batten/ angle holder including connection etc. as required |  | 10 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.7 | Supplying and fixing brass batten/ angle holder including connection etc. as required | 10 | Each
1.8 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. |  | 5 | Each | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.8 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 5 | Each
2 | Light, Fan fixture and its accessories |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Light, Fan fixture and its accessories
2.1 | Supply of the following LED light fixtures complete with lamps, suitable drivers, all accesories as required and fan fixtures duly wired complete for use on 240 V single phase 50 Hz AC supply including all accessories required for mounting at surface/recess/wall as mentioned. |  |  |  | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2.1 | Supply of the following LED light fixtures complete with lamps, suitable drivers, all accesories as required and fan fixtures duly wired complete for use on 240 V single phase 50 Hz AC supply including all accessories required for mounting at surface/recess/wall as mentioned.
2.1.1 | 22w LED Battern Tubelight (Make: Philips/wipro/osram (Ledvance) or equivalent) |  | 3 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.1.1 | 22w LED Battern Tubelight (Make: Philips/wipro/osram (Ledvance) or equivalent) | 3 | Each
2.1.2 | 9w LED lamps for angle batten holder. (Make: Philips/Wipro/Osram (Ledvance) or equivalent) |  | 10 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.1.2 | 9w LED lamps for angle batten holder. (Make: Philips/Wipro/Osram (Ledvance) or equivalent) | 10 | Each
2.1.3 | Bulk head 10W (Make: Philips/Wipro/Osram (Ledvance) or equivalent) |  | 1 | Each | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.1.3 | Bulk head 10W (Make: Philips/Wipro/Osram (Ledvance) or equivalent) | 1 | Each
2.2 | Installation ,Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. |  | 14 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.2 | Installation ,Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 14 | Each
2.3 | Supply of 230 V single phase, 1200 mm sweep ceiling fans, 350 RPM, complete with fan hooks, down rod and other fixing accessories as required.(Make :Crompton Greaves HS or equivalent) |  | 4 | Each | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.3 | Supply of 230 V single phase, 1200 mm sweep ceiling fans, 350 RPM, complete with fan hooks, down rod and other fixing accessories as required.(Make :Crompton Greaves HS or equivalent) | 4 | Each
2.4 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. |  | 4 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.4 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 4 | Each
2.5 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required |  | 4 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.5 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required | 4 | Each
2.6 | Supply of 230 mm sweep exhaust fan complete with bird guard, louvers etc and other fixing accessories as required. (Make: Crompton Greaves/Usha/almonard or equivalent) |  | 6 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.6 | Supply of 230 mm sweep exhaust fan complete with bird guard, louvers etc and other fixing accessories as required. (Make: Crompton Greaves/Usha/almonard or equivalent) | 6 | Each
2.7 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. |  |  |  | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2.7 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required.
2.7.1 | Upto 450 mm sweep |  | 6 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.7.1 | Upto 450 mm sweep | 6 | Each
3 | Sub Distribution Board and accessories |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 3 | Sub Distribution Board and accessories
3.1 | Fixing of following ways surface/ recess mounting, Horizontal/vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . |  |  |  | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 3.1 | Fixing of following ways surface/ recess mounting, Horizontal/vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required .
3.1.1 | 8 way VTPN MCCB DB |  | 1 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.1.1 | 8 way VTPN MCCB DB | 1 | Each
3.1.2 | 4 Way TPN DB |  | 2 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.1.2 | 4 Way TPN DB | 2 | Each
3.2 | Fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. |  |  |  | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 3.2 | Fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
3.2.1 | Single Pole |  | 24 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.2.1 | Single Pole | 24 | Each
3.2.2 | Triple Pole |  | 8 | Each | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.2.2 | Triple Pole | 8 | Each
3.3 | Fixing, testing and commissioning of following rating RCBO or MCCB as required in existing vertical distribution board including drilling holes in the vertical distribution board, making connections etc as required at incomer. |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 3.3 | Fixing, testing and commissioning of following rating RCBO or MCCB as required in existing vertical distribution board including drilling holes in the vertical distribution board, making connections etc as required at incomer.
3.3.1 | Upto 125A 4P MCCB |  | 1 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.3.1 | Upto 125A 4P MCCB | 1 | Each
3.3.2 | Upto 63A 4P RCBO |  | 2 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.3.2 | Upto 63A 4P RCBO | 2 | Each
4 | LT CABLES AND CABLE LAYING |  |  |  | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4 | LT CABLES AND CABLE LAYING
4.1 | Supply of following sizes 1.1 KV XLPE insulated, FRLS Al. armoured Conductor, PVC inner sheathed, overall PVC sheathed cable in conformity to the technical specification and as per latest IS - codes. |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 4.1 | Supply of following sizes 1.1 KV XLPE insulated, FRLS Al. armoured Conductor, PVC inner sheathed, overall PVC sheathed cable in conformity to the technical specification and as per latest IS - codes.
4.1.1 | 3.5 C x 35 Sqmm |  | 265 | Metre | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4.1.1 | 3.5 C x 35 Sqmm | 265 | Metre
4.2 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground/on wall surface/ existing Trench/ HUME/ METAL pipe/DWC pipe etc as required. |  |  |  | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 4.2 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground/on wall surface/ existing Trench/ HUME/ METAL pipe/DWC pipe etc as required.
4.2.1 | upto 35 Sqmm |  | 265 | Metre | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4.2.1 | upto 35 Sqmm | 265 | Metre
4.3 | Supply and making end termination with brass compression gland with gland earthing and aluminium lugs for following size of PVC insulated and PVC sheathed /XLPE Al. conductor cable of 1.1 KV grade as required. |  |  |  | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 4.3 | Supply and making end termination with brass compression gland with gland earthing and aluminium lugs for following size of PVC insulated and PVC sheathed /XLPE Al. conductor cable of 1.1 KV grade as required.
4.3.1 | 3.5 C x 35 Sqmm |  | 2 | Each | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4.3.1 | 3.5 C x 35 Sqmm | 2 | Each
5 | Earthing |  |  |  | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 5 | Earthing
5.1 | Earthing with G.I. earth pipe 3 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required. Note Earth enhancing mineral will be supplied by the department at free of cost. |  | 2 | Set | 12723.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.1 | Earthing with G.I. earth pipe 3 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required. Note Earth enhancing mineral will be supplied by the department at free of cost. | 2 | Set
5.2 | Providing and fixing 4.00 mm dia copper wire on surface or in recess/through ground for loop earthing as required. |  | 50 | Metre | 18477.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.2 | Providing and fixing 4.00 mm dia copper wire on surface or in recess/through ground for loop earthing as required. | 50 | Metre
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information